## Graphic
25 use cases defined in NBIMS-V3 in BIM Execution Guide are in light grey.
This document prepared by:
Additional use cases are identified in this document beyond those currently identified by buildingSMART International

## Summary
buildingSMART International BIM Use Cases | [5 empty] | Updated: May 18, 2020
| Use | Title | Source | Brief Description | Maturity | Notes
DESIGN | 1 | Existing Conditions Modeling (ECM) | NBIMS | Terrain model including utilities and transportation information | 8 | Mostly GIS currently, but there is a NWI for an ISO standard on BIM-GIS
| 2 | Site Utilization Planning (SUP) | NBIMS | Using a 4D model graphically represent both permanent and temporary facilities on site | 7 | This is a tool which construction can also use
| 3 | Site Analysis (SAN) | NBIMS | Tools to analysize capacity and locational information, such as sun angle, heat gain, etc. | 6 | If merging with geospatial information, this is a fairly advanced capability
| 4 | Architectural Programming (ARP) | NBIMS | Information about spaces required to meet mission requirements of a facility | 8 | Very advanced capability with spatial relationship tools
| 5 | Visualization (VIZ) | New | Providing Visualization tools for design decisions and owner reviews | 9 | A wide range of capabilities currently exist from photo realistic to massing
| 6 | Simulation (SIM) | New | Simulating how the facility will operate | 8 | Not well developed yet, but has been demonstrated using gaming engines
| 7 | Spatial analysis (SPA) | New | Scale independent analysis from regional to room and from massing to detailing | 8 | A broad scale of options exist for spatial analysis
| 8 | Specification production (SPR) | bSI | Construction specifications | 6 | There are some object based tools, need to tie submittals registry to COBie
| 9 | Quantity Take Off (QTO) | bSI | Quantity take off for all assets | 8 | Basic counted items are accurate, other quantities are less accurate, due to lack of standards
| 10 | Cost analysis / Estimation (CAE) | NBIMS | First cost estimating | 7 | Accurate tools, but not well integrated and metadata is lacking, this has a ways to go
| 11 | Total Cost of Ownership (TCO) | bSI | Total cost of Ownership of the object to include first cost and all life cycle costs associated with the object | 4 | Lacking life cycle and MTBF information, this is not very accurate nor integrated
| 12 | Design Authoring and Briefing (DAB) | NBIMS | Information about systems and basic assumptions going into design | 8 | A strength of BIM currently is 3D visualization, but it is not well integrated
| 13 | Design Reviews (DER) | NBIMS | Tools to help owner understand the final product | 8 | A strength of BIM currently is 3D visualization, but it is not well integrated
| 14 | Sustainability Evaluation (SEV) | NBIMS | Sustainability review | 4 | Lacking life cycle and MTBF information, this is not very accurate nor integrated
| 15 | Design to Maintain Analysis (D2M) | New | An analysis conducted during design to ensure the facility is maintainable | 7 | Demonstratable, but not well implemented
| 16 | Structural Analysis (STR) | NBIMS | Structural engineering | 8 | Certainly one of the most advanced sectors
| 17 | Lighting Analysis (LTA) | NBIMS | Electrical and natural lighting analysis | 7 | Balancing natural and powered lighting remains a designers function, tools not integrated
| 18 | Energy Analysis (ENA) | NBIMS | Energy specific analysis | 7 | Many tools available but no feedback and somewhat inaccurate
| 19 | Mechanical Analysis (MEA) | NBIMS | Mechanical Electrical Plumbing Design | 7 | Some aspects being implemented
| 20 | Electrical Analysis (ELA) | bSI | Power engineering | 6 | Tools exist but room for improved integration with model
| 21 | Other Egineering Analysis (OEA) | NBIMS | Other engineering analysis not identified | 6 | Tools exist, but not well defined for category
| 22 | Building System Analysis (BSA) | NBIMS | General building systems analysis, integrated systems | 4 | All aspects are independent so designer must make correlations
| 23 | 3D Coordination (3DC) | NBIMS | Conflict analysis between systems | 9 | A strength of BIM, but is not well integrated
| 24 | 3D Control and Planning (3DP) | NBIMS | Utilizing a model to layout the building assemblies and produce lift drawings. | 6 | This is tool which construction can also use
PROCURE | 25 | Product Library (PRL) | bSI | A central library of manufactred products, suplied by manufacturers | 6 | US products are mostly visual with little information
| 26 | Manufacturers Information (Incl. LCA) (MAI) | bSI | Information supplied and validated by manufacturer | 4 | Visual and spatial information
| 27 | Product Selection (PRS) | bSI | Selection of products to meet project needs | 4 | US products lacking needed information
| 28 | Perform procurement (PEP) | bSI | Electronic procurement and supply of digital information | 5 | Still a paper based system
ASSEMBLE | 29 | Code Validation (COV) | NBIMS | Code validation software is used to check model parameters against project specific codes | 4 | Development underway, but not implemented
| 30 | Construction System Design (CSD) | NBIMS | 3D System Design Software used to design the construction of a complex building system | 6 | Capability exists, but is not implemented universally
| 31 | Phase Planning (4D Modeling) (PHP) | NBIMS | Using a 4D model (3D models with the added dimension of time) to plan phased occupancy | 7 | Capability exists, but is not implemented universally
| 32 | Digital Fabrication (DFC) | NBIMS | Using technology to prefabricate objects directly from a 3D Model. | 8 | Some aspects of industry are progressing
| 33 | Field & Material tracking (FMT) | New | Tracking items following procurement to the job site including laydown area | 8 | This is being used by multiple construction firms
| 34 | Digital Layout - BIM 2 Field (B2F) | New | Digital layout using the model as the data source | 7 | This is very advanced and tools are widely used
| 35 | QA/QC - Consistency control (QAC) | bSI | Ensuring that materials and processes used in costruction are similar throughout a project, eliminating fraudulant products | 7 | Capability does not exist, and has not been implemented
| 36 | Owner Approval (OWA) | New | Using the model for owner approvals of design and construction | 5 | Capability has not yet been implemented in tools, it is still a manual process using a model
| 37 | Pay Applications (PAY) | New | Using the model to document work in place | 5 | The use is being used it is not well integrated to date
| 38 | Laser Scanning (LAS) | New | Using laser scanning in all phases of a project | 8 | This is broken out as it is a specific function in support of many
| 39 | Commissioning (COM) | bSI | Using a model to support the information needed for commissioning and handover | 4 | Remains primarily an independent effort
OPERATE | 40 | Record Modeling (REM) | NBIMS | Using a 3D model to accuratly depiction the physical conditions of a facility and its assets. | 7 | Coupled with 3D scanning this function Is advancing rapidly, open standads are important
| 41 | As Constructed Modeling (ACM) | New | Providing certification of a models accurach to constructed conditions | 6 | Capabiloity exists but not widle used. Still some legal issues to be worked out.
| 42 | Asset Management (ASM) | NBIMS | A system to aid in the maintenance and operation of a facility and its assets. | 6 | A lot of effort is focused in this area, but results are not wide spread
| 43 | Space Management and Tracking (SMT) | NBIMS | BIM is used to allocate, manage, and track assigned workspaces | 6 | One of the most advanced capabilities of a model
| 44 | Maintenance & Repair Information (MRI) | bSI | Information related to maintenance and repair | 6 | Based on COBie implementation
| 45 | FM Documentation (FMD) - Facility Data Exchange With IWMS | bSI | Information related to managing the facility | 6 | Information available, but not well implemented
| 46 | Building (Preventative) Maintenance Scheduling (BMS) | NBIMS | Maintaining a facility over the operational life of a facility. | 6 | Can be self implemented using COBie, but provedn business processes not yet in place
| 47 | Disaster Planning / Emergency Preparedness (DRC) | NBIMS | Having the information needed in case of an emergency | 4 | DR/COOP is self deveoped, no proven business processes are in placde
| 48 | Security & Key Management (SKM) | bSI | Allows for tracking limited access zones for keying | 4 | Capability exists, but not often merged
| 49 | Communication move/add/change management (CMA) | bSI | Merging spatial, personnel and communication needs | 5 | Capability exists, but not often merged
| 50 | Way finding (WAF) | bSI | Allows occupants to find spaces, as well as exits in an emergency | 4 | Electronic capability not yet available

## Definitions
buildingSMART International BIM Use Cases
Document Completion
Sequence | Code | BIM Use Case | Updated Descriptions | Original Definition | Source | Linking | Def | Proc | Impl | Data
1 | ECM | Existing Conditions Modeling | • A process in which a project team develops BIM(s) of the existing conditions for a site, facilities on a site, or a specific area within a facility. • This model can be developed in multiple ways depending on what is desired and what is most efficient. • Once the model is constructed, it can be queried for information, whether it be for new construction or a modernization project. | A process in which a project team develops a 3D model of the existing conditions for a site, facilities on a site, or a specific area within a facility. This model can be developed in multiple ways depending on what is desired and what is most efficient. Once the model is constructed, it can be queried for information, whether it be for ne construction or a modernization project. | PSU
2 | SUP | Site Utilization Planning | • A process in which BIM(s) is used to graphically represent both permanent and temporary facilities on site, often with the construction activity schedule. • Because the 3D model components can be directly linked to the schedule, site management functions such as visualized planning, short-term re-planning, and resource analysis can be analyzed over different spatial and temporal data • Additional information incorporated into the model can include labor resources, materials and associated deliveries, and equipment location. | A process in which a model is used to graphically represent both permanent and temporary facilities on site, often with the construction activity schedule. Because the 3D model components can be directly linked to the schedule, site management functions such as visualized planning, short-term re-planning, and resource analysis can be analyzed over different spatial and temporal data.Additional information incorporated into the model can include labor resources, materials and associated deliveries, and equipment location. | PSU basded with mods
3 | SAN | Site Analysis | • A process in which BIM/GIS tools are used to evaluate properties in a given area to determine the most optimal site location for a future project. • The site data collected is used to first select the site and then the position the building based on engineering criteria (e.g. solar path, utility availability, hazardous material). | A process in which BIM/GIS tools are used to evaluate properties in a given area to determine the most optimal site location for a future project. The site data collected is used to first select the site and then the position the building based on engineering criteria (e.g. solar path, utility availability, hazardous material). | PSU
4 | ARP | Architectural Programming | • A process in which an architectural BIM(s) is used to efficiently and accurately assess design performance in regard to spatial requirements. • The developed BIM allows the project team to analyze space and understand the complexity of space standards and regulations, which saves time and provides the team with opportunity of doing more value-adding activities. • Critical decisions are made in this phase of design and brings the most value to the project when needs and options are discussed with the client and the best approach is analyzed. | A process in which a spatial program is utilized to efficiently and accurately assess design performance in regard to spatial requirements. The developed BIM allows the project team to analyze space and understand the complexity of space standards and regulations, which saves time and provides the team with opportunity of doing more value-adding activities. Critical decisions are made in this phase of design and brings the most value to the project when needs and options are discussed with the client and the best approach is analyzed. | PSU
5 | VIZ | Visualization | • A process in which BIM(s) is used for creating images, diagrams, or animations to communicate a message. • Used forrendering, understanding natural lighting, supporting site selection and positioning, for the purpose of marketing, understanding design intent and constructability. • Visualization through visual imagery has been an effective way to communicate both abstract and concrete ideas. • The development of augmented and virtual really also supports advance visualization. | Is any technique for creating images, diagrams, or animations to communicate a message. Visualization through visual imagery has been an effective way to communicate both abstract and concrete ideas since the dawn of humanity. Visualization today has ever-expanding applications in science, education, engineering (e.g., product visualization), interactive multimedia, medicine, etc. Typical of a visualization application is the field of computer graphics. The invention of computer graphics may be the most important development in visualization since the invention of central perspective in the Renaissance period. The development of animation also helped advance visualization. | Wikipedia
6 | SIM | Simulation | • A process in which BIM(s) is used to simulatethe operation of a real-world process or system over time. The act of simulating requires a model to represent the key characteristics or behaviors/functions of the selected physical or abstract system or process. • The model represents the system itself, whereas the simulation represents the operation of the system over time. • Simulation is used in many contexts, such as simulation of technology for performance optimization, safety engineering, testing, training, education, and video gaming. Often, computer experiments are used to study simulation models. • Simulation is also used with scientific modelling of engineering designs, natural systems, or human systems to gain insight into their functioning. • Simulation can be used to show the eventual real effects of alternative conditions and courses of action. • Simulation is also usedwhen the real system cannot be engaged, because it may not be accessible, or it may be dangerous or unacceptable to engage, or it is being designed but not yet built, or it may simply not exist. | Simulation is the imitation of the operation of a real-world process or system over time. The act of simulating something first requires that a model be developed; this model represents the key characteristics or behaviors/functions of the selected physical or abstract system or process. The model represents the system itself, whereas the simulation represents the operation of the system over time. Simulation is used in many contexts, such as simulation of technology for performance optimization, safety engineering, testing, training, education, and video games. Often, computer experiments are used to study simulation models. Simulation is also used with scientific modelling of natural systems or human systems to gain insight into their functioning. Simulation can be used to show the eventual real effects of alternative conditions and courses of action. Simulation is also used when the real system cannot be engaged, because it may not be accessible, or it may be dangerous or unacceptable to engage, or it is being designed but not yet built, or it may simply not exist. | Wikipedia
7 | SPA | Spatial Analysis | • A process in which BIM(s) is used to perform spatial analysis on the space by considering the perceivable architectural element by their boundary and stress characteristics and intensity properties. • This type of analysis is capable of taking all sensorial factors into account during analyses in conformably with the perception process of architectural space which is a multi-sensorial act. | Fuzzy architectural spatial analysis was developed by Burcin Cem Arabacioglu (2010) from the architectural theories of space syntax and visibility graph analysis, and is applied with the help of a fuzzy system with a Mamdami inference system based on fuzzy logic within any architectural space. Fuzzy architectural spatial analysis model analyses the space by considering the perceivable architectural element by their boundary and stress characteristics and intensity properties. The method is capable of taking all sensorial factors into account during analyses in conformably with the perception process of architectural space which is a multi-sensorial act. | Wikipedia
8 | SP | Specification Production | • A process producing data based three-part specification system linked to the objects selected to be included in BIM(s) which responds to any changes or alternative items added or subtracted from the model during design and construction. | A data based three part specification system linked to the objects selected to be included in a BIM which responds to any changes or alternatives items added, or subtracted from the model. | DKS
9 | QTO | Quantity Take Off | • A process using BIM(s) to produce accurate Quantity take-off’s (QTO). QTO’s are the detailed measurement of materials and labor needed to complete a construction project. They are made from the BIM(s) developed by a designer and performed by and estimator during the preconstruction phase and for change orders during construction. • These measurements are used to develop a bid based on the scope of construction identified in the specifications. • Estimators review drawings and specifications and BIM(s) to develop these quantities. Some quantities will be for temporary work needed during construction, such as formwork or trenching. | Quantity take-off’s (QTO) are a detailed measurement of materials and labor needed to complete a construction project. They are developed by an estimator during the preconstruction phase or for change orders during construction. These measurements are used to format a bid on the scope of construction. Estimators review drawings and specifications or BIM's to find these quantities. Experienced estimators have developed procedures to help them quantify their work. Many programs have been developed to aid in the efficacy of these processes. | Wiki
10 | CAE | Cost Estimation / Cost Analysis | • A process in which BIM(s) can, based on an accurate quantity take-off produce a cost estimate early in the design process and provide cost effects of additions and modifications with potential to save time and money and avoid budget overruns. • This process also allows designers to see the cost effects of their changes in a timely manner which can help curb excessive budget overruns due to project modifications. • Cost analysis is the accumulation, examination, and manipulation of cost estimates for comparisons and projections. • It also encompasses the cost engineer’s assessment of external impacts on a project to include items such as weather, labor and skill set availability, material availability, economic conditions, etc. • It is ideally done in near real time as objects are selected and decisions made by designers. | A process in which a BIM can, based on an accurate quantity take-off produce a cost estimate early in the design process and provide cost effects of additions and modifications with potential to save time and money and avoid budget overruns. This process also allows designers to see the cost effects of their changes in a timely manner which can help curb excessive budget overruns due to project modifications. Cost analysis is the accumulation, examination, and manipulation of cost estimates for comparisons and projections. It also encompasses the cost engineers assessment of external impacts on a project to include items such as weather, labor and skill set availability, material availability, economic conditions, etc. | PSU
11 | TCO | Total Cost of Ownership / Service Life | • A process in which BIM(s) are used to produce a financial estimate intended to help buyers and owners determine all direct and indirect costs of a product or system over its life to include end of life cost or value. • It is a management accounting concept that can be used in full cost accounting or even ecological economics where it includes social and skill acquisition costs. | A financial estimate intended to help buyers and owners determine all direct and indirect costs of a product or system. It is a management accounting concept that can be used in full cost accounting or even ecological economics where it includes social costs. | Wikipedia
12 | DAB | Design Authoring | • A process in which 3D software is used to develop BIM(s) based on criteria that is important to the translation of the building’s design. • Two groups of applications are at the core of a BIM-base design process are design authoring tools and audit and analysis tools. • Authoring tools create models while audit and analysis tools analyze or add to the richness of information in a model. • Most of audit and analysis tools can be used for design review and engineering analysis BIM Uses. • Design authoring tools are a first step towards BIM(s) and the key is connecting a 3D model with a powerful database of properties, quantities, means and methods, costs and schedules. | A process in which 3D software is used to develop a BIM based on criteria that is important to the translation of the building’s design. Two groups of applications are at the core of BIM-base design process are design authoring tools and audit and analysis tools. Authoring tools create models while audit and analysis tools analyze or add to the richness of information in a model. Most of audit and analysis tools can be used for Design Review and Engineering Analysis BIM Uses. Design authoring tools are a first step towards BIM and the key is connecting 3D model with powerful database of properties, quantities, means and methods, costs and schedules. | PSU
13 | DER | Design Reviews | • A process in which BIM(s) is used to showcase the design to the stakeholders and evaluate meeting the program and set criteria like layout, sightlines, lighting, security, ergonomics, acoustics, textures and colors, etc. • A virtual mock-up can be accomplished in high detail even on a part of the building like façade to quickly analyze design alternatives and solve design and constructability issues. • If properly executed, these reviews can resolve design issues by offering different options and cutting down the cost and time invested considering basic construction, making modifications after reviews and final demolition and removal expense. • Evaluation of the designed space can be facilitated by high degree of interactivity to get positive feedback from end users and owner. • Some of the top criteria in evaluation are: sightlines, lighting, ADA compliance, safety, security, acoustics, HVAC, ergonomics, aesthetics and millwork tolerances. • Real-time modifications of design are enabled based on the end users feedback. Therefore, decision making time is cut in half since the attention focus is on one issue at a time until consensus is reached. | A process in which a 3D model is used to showcase the design to the stakeholders and evaluate meeting the program and set criteria like layout, sightlines, lighting, security, ergonomics, acoustics, textures and colors, etc. Virtual mock-up can be done in high detail even on a part of the building like façade to quickly analyze design alternatives and solve design and constructability issues. If properly executed, these reviews can resolve design issues by offering different options, and cutting down the cost and time invested considering basic construction, making modifications after reviews and final demolition and removal expense. Evaluation of the designed space can be facilitated by high degree of interactivity in order to get positive feedback from end users and owner. Some of the top criteria in evaluation if the courtrooms are: sightlines, lighting, ADA compliance, safety, security, acoustics, HVAC, ergonomics, aesthetics and millwork tolerances. Real-time modifications of design are enabled based on the end users feedback. Therefore, decision making time is cut in half since the attention focus is on one issue at a time until the consensus is reached. | PSU
14 | SEV | Sustainability Evaluation | • A process in which BIM(s) are used on a project to evaluate its sustainable aspects through its life-cycle based on certification categories and criteria such as: • Leadership in Energy and Environmental Design (LEED); • Building Research Establishment Environmental Assessment Method (BREEAM); • or other recognized sustainable criteria programs. • To obtain the desired certification the most common approach is condensing design analysis into a single database. • Evaluations can be applied across all phases of a construction project. • Sustainability evaluation is most effective when it is done in planning and design stages and then applied in construction and operations phase. | A process in which a project is evaluated based on LEED or other sustainable criteria. This can refer to materials, performance, or a process. Sustainability Evaluations can be applied across all four phases of a construction project, Planning, Design, Construction, and Operation. Sustainability evaluation is most effective when it is done in planning and design stages and then applied in construction and operations phase. Model all sustainable aspects of a project throughout its life-cycle in order to obtain the desired LEED certification in the most efficient manner by condensing design analyses into a single database. | PSU
15 | D2M | Design for Maintenance | • An evaluation process where each object selected during design for inclusion in BIM(s) are evaluated for life cycle maintenance issues, such as clearances to perform routine maintenance activates. • In addition, consideration shall be given to include complete replacement of the object or any of its components. | An evaluation process where each object selected during design for inclusion in a BIM are evaluated for life cycle maintenance issues, such as clearances to perform routine maintenance activates to include complete replacement of the object or any of its components. | DKS
16 | STR | Structural Analysis | • A process in which intelligent modeling software uses the Structural BIMto determine the most effective engineering method based on design specifications. • These analysis tools and performance simulations can significantly improve the design of the facility. | A process in which intelligent modeling software uses the BIM to determine the most effective engineering method based on design specifications. Development of this information is the base for what is passed on to the owner and/or operator for use in the building's structural systems. These analysis tools and performance simulations can significantly improve the design of the facility. | PSU basded with mods
17 | LTA | Lighting Analysis | • A process in which intelligent modeling software uses the Architectural BIMto determine the most effective engineering method based on design specifications. • Development of this information is the basis for validation of lighting levels and code compliance. • These analysis tools and performance simulations can significantly improve the design of the facility. | A process in which intelligent modeling software uses the BIM to determine the most effective engineering method based on design specifications. Development of this information is the base for what is passed on to the owner and/or operator for use in the building's lighting systems. These lighting analysis tools and performance simulations can significantly improve the design of the facility and its energy consumption during its lifecycle in the future. | PSU based with mods
18 | ENA | Energy Analysis | • A process in which intelligent modeling software uses the Mechanical BIM to determine the most effective engineering method based on design specifications. • Development of this information is the basis for building's systems energy analysis. • These analysis tools and performance simulations can significantly improve the design of the facility and its energy consumption during its lifecycle in the future. | A process in which intelligent modeling software uses the BIM to determine the most effective engineering method based on design specifications. Development of this information is the base for what is passed on to the owner and/or operator for use in the building's energy systems. These analysis tools and performance simulations can significantly improve the design of the facility and its energy consumption during its lifecycle in the future. | PSU
19 | MEA | Mechanical Analysis | • A process in which the BIM(s) are used to determine the most effective mechanical engineering methods based on design specifications. • These analysis tools and performance simulations can significantly improve the mechanical design of the facility and its energy consumption over its life-cycle. • The information provided from this analysis should be shared the owner and/or operator for use in the building's mechanical systems. | A process in which intelligent modeling software uses the BIM to determine the most effective engineering method based on design specifications. Development of this information is the base for what is passed on to the owner and/or operator for use in the building's systems (i.e. energy analysis, structural analysis, emergency evacuation planning, etc.). These analysis tools and performance simulations can significantly improve the design of the facility and its energy consumption during its lifecycle in the future. | PSU
20 | ELA | Electrical Analysis | • A process in which BIM(s) is used to determine the most effective electrical engineering methods based on design specifications. • These analysis tools and performance simulations can significantly improve the electrical design of the facility and its energy consumption over its life-cycle. • The information provided from this analysis should be shared the owner and/or operator for use in the building's mechanical systems. | A process in which intelligent modeling software uses the BIM to determine the most effective engineering method based on design specifications. Development of this information is the base for what is passed on to the owner and/or operator for use in the building's systems (i.e. energy analysis, structural analysis, emergency evacuation planning, etc.). These analysis tools and performance simulations can significantly improve the design of the facility and its energy consumption during its lifecycle in the future. | PSU
21 | OEA | Other Engineering Analysis | • A process in which BIM(s) are used to determine the most effective engineering method based on design specifications. • Development of this information is the basis for what will be passed on to the owner and/or operator (i.e. emergency evacuation planning, egress planning, ADA,.. etc.). • These analysis tools and performance simulations can significantly improve the design of the facility during its lifecycle in the future. | A process in which intelligent modeling software uses the BIM to determine the most effective engineering method based on design specifications. Development of this information is the basis for what will be passed on to the owner and/or operator for use in the building's systems (i.e. egress planning, ADA, emergency evacuation planning, etc.). These analysis tools and performance simulations can significantly improve the design of the facility. | PSU
22 | BSA | Building System Analysis | • A process that uses the BIMs to optimize a building’s performance to the specified design. • This includes how the mechanical system operates and how much energy a building uses. • Other aspects of this analysis may include ventilated facade studies, lighting analysis, internal and external airflows, and solar analysis. | A process that measures how a building's performance compares to the specified design. This includes how the mechanical system operates and how much energy a building uses. Other aspects of this analysis include, but are not limited to, safety, ventilated facade studies, internal and external CFD airflow, occupant evacuation, and solar analysis. | PSU
23 | 3DC | 3D Coordination & Conflict Analysis | • A process in which BIMs are used during the design and construction process to identify and coordinate potential field conflicts by comparing models of building systems. • During design the goal of clash avoidance is to ensure there is adequate space to fit all designed components. • During construction the intent of clash detection is to resolve major system conflicts prior to installation. | A process in which Clash Detection software is utilized during the coordination process to determine field conflicts by comparing 3D models of building systems. The goal of clash detection is to eliminate the major system conflicts prior to installation. | PSU
24 | 3DP | 3D Control and Planning | • A process that utilizes BIM(s) to help layout the building assemblies and produce lift drawings. • Lift drawings are 2D/3D component drawings used by foremen during on site construction to help with sequencing. | A process that utilizes a model to layout the building assemblies and produce lift drawings. Lift drawings are 2D/3D component drawings used by foremen during on site construction. | PSU
25 | PRL | Product Library | • A process that allows practitioners to access a products BIM information from an external source. • Several organizations are currently developing product libraries with various formats of information to include native formats for existing BIM software as well as open standards-based data in IFC format. | Several organizations are currently developing product libraries with various formats of information to include native formats for existing software as well as more open standards based data in IFC or COBie formats. Once established these systems will mature to ultimately include not only graphic and spatial information but also information related to technical specifications, engineering capabilities and tolerances, first cost, life cycle cost, maintenance and repair information, environmental information, mean time to failure information as well as installation , warranty and any other information pertinent to the selection of a product for suitability in a designed facility. | DKS
26 | MAI | Manufacturers Information | • A process where BIM(s) facilitate accessing manufacturers information, from a product library in a machine-readable format. • The product library will mature to ultimately include not only graphic and spatial information but also information related to technical specifications, engineering capabilities and tolerances, first cost, Total Cost of Ownership, maintenance and repair, environmental, mean time to failure, as well as installation, warranty, and any other information pertinent to the selection of a product for suitability in a designed facility. • This is detailed information about an object that can be used for accessing all known manufactured product information to potentially include parts list and identifiable nomenclature specific to ordering parts for maintenance and repair of existing objects. It may also include performance information and other information which could support product selections. | Manufacturers information, while similar to or potentially information ultimately provided in a product library is currently available information, however not often in a machines readable format. This information is more detailed information about an object providing a parts list and identifiable nomenclature specific to ordering parts for maintenance and repair of existing objects. It does not include performance information. | DKS
27 | PRS | Product Selection | • A process of using BIM(s) to identify objects and use the information provided in product libraries to support the selection one product over another. The more information available the higher quality of the decision. • This process is comparable to comparison charts provided for many products today. • The product library may also include information from users or people who have purchased the products which indicate the products suitability to a specific use. | A process of using product information provided primarily in product libraries to select one product over another. The more information the higher quality of the decision. It is similar to comparison charts provided for many products today. It may also include information from users or people who have purchased the products which indicate the products suitability to a specific use. | DKS
28 | PEP | Perform Procurement | • A process using BIM(s), where once selected an object is ordered using electronic means to help in planning just in time delivery as well as providing complete documentation of the product lifecycle management (PLM) process. • The process will provide information to the recipient, so the object can potentially be tracked throughout its manufacturer, fabrication and shipping process. • This capability is similar to existing processes in place for many industries and is similar to Amazon Prime or Google Express. • It can be used for initial purchase as well as supporting work orders in existing facilities. • It may even be tied into automatic ordering tools that order, stock, inventory and track availability of routine maintenance parts. • It can also support and link to IWMS systems for scheduled maintenance activities requiring product procurement during operations and maintenance. | A process where once selected an item is ordered using electronic means to help in planning just in time delivery as well as complete documentation of the product lifecycle management (PLM) process providing information to the recipient so the object can potentially be tracked throughout its manufacturer, fabrication and shipping process. This capability is similar to existing processes in place for many industries and is similar to Amazon Prime or Google Express. It can be used for initial purchase as well as supporting work orders in existing facilities. It may even be tied into automatic ordering tools that order, stock, inventory and track availability of routine maintenance parts. It can support and link to IWMS systems for scheduled maintenance activities. | DKS
29 | COV | Code Validation | • A process in which code validation software uses a BIM(s) to check model parameters against project specific codes. • It could be considered a spell check for building models. • As model checking tools continue to develop and update the software for compliance with more codes, code validation should become more prevalent within the design industry. | A process in which code validation software is utilized to check model parameters against project specific codes. It could be considered a spell check for building models. Code validation is currently in its infant stage of development within the U.S. and is not a widespread use. However, as model checking tools continue to develop and update the software for compliance with more codes, code validation should become more prevalent within the design industry. | PSU
30 | CSD | Construction System Design | • A process in which BIM(s) are utilized to design and analyze the constructionof a complex building system (e.g. congested mechanical rooms, curtain walls, glazing, formwork, tie-backs, seismic restraint systems, hangers, etc.) in order to increase planning and future programming. | A process in which 3D System Design Software is utilized to design and analyze the construction of a complex building system (e.g. form work, glazing, tie-backs, etc.) in order to increase planning. | PSU
31 | PHP | Phase Planning (4D Modeling) | • A process in which BIM(s) with the added dimension of time is utilized to effectively plan the phased planning to include construction, occupancy in a renovation, retrofit, addition, or to show the construction sequence and space requirements on a building site. • BIM with the time dimension (also known as 4D) is a powerful visualization and communication tool that can give a project team much better understanding of project milestones, schedule, and construction plans. | A process in which a 4D model (3D models with the added dimension of time) is utilized to effectively plan the phased occupancy in a renovation, retrofit, addition, or to show the construction sequence and space requirements on a building site. 4D modeling is a powerful visualization and communication tool that can give a project team much better understanding of project milestones and construction plans. | PSU
32 | DFC | Digital Fabrication | • A process that utilizes fabrication machine technology to prefabricate objects directly from models for offsite construction. • This promotes such things as improved levels of quality control of building systems and their components while increasing the overall project safety | A process that utilizes machine technology to prefabricate objects directly from a 3D Model. The 3D Model is cut into appropriate sections and is fed into an assembly system for production. | PSU
33 | FMT | Field & Material Tracking | • Using BIM(s) to keep track of materials delivered for the project tied to scheduling and sequencing of assembly. • Allows the identification of materials following procurement to include delivery, laydown area location, etc. • For off-site construction, the process and be used for tracking progress toward completion and delivery. | Using the model to keep track of materials delivered for the project tied to scheduling and sequencing of assembly. Identify materials following procurement to include delivery, laydown area location, etc. For off-site construction, tracking progress toward and delivery. | DKS
34 | B2F | Digital Layout - BIM2Field | • A process that allows information in a BIM to be transferred to digital layout tools allowing use for very accurate layout in conformance to the model. • This information can be used to validate (QA/QC) the physical facility against the model. • The level of accuracy of the tools will allow the location and installation of hangers for pipe and ducts work as well as location of structural members. • The ability also exists to pass information to earth moving equipment to ensure proper grades and elevations are met. | A process that allows information in a BIM to be transferred to digital layout tools allowing use for very accurate layout in conformance to the model. This information can be used to validate (QA/QC) the physical facility against the model. The level of accuracy of the tools will allow the location and installation of hangers for pipe and ducts work as well as location of structural members. The ability also exists to pass information to earth moving equipment to ensure proper grades and elevations are met. | DKS
35 | QCC | Consistency Control - Quality Assurance/Quality Control | • A process which incorporates the use of BIM(s) to support QA and QC activities for a project. • Quality assurance (QA) is a way of using a BIM to minimize mistakes or defects in manufactured products being included in the constructed facility to avoid problems when delivering solutions or services to customers; which ISO 9000 defines as "part of quality management focused on providing confidence that quality requirements will be fulfilled". • Quality control (QC) is a process by which the BIM supports entities review of the quality of all factors involved in production. ISO 9000 defines quality control as "A part of quality management focused on fulfilling quality requirements". | Quality assurance (QA) is a way of preventing mistakes or defects in manufactured products and avoiding problems when delivering solutions or services to customers; which ISO 9000 defines as "part of quality management focused on providing confidence that quality requirements will be fulfilled". Quality control (QC) is a process by which entities review the quality of all factors involved in production. ISO 9000 defines quality control as "A part of quality management focused on fulfilling quality requirements". | Wikipedia
36 | OWA | Owner Approval | • A business process which takes advantage of information stored in BIM(s) to help validate progress as well as ensuring that the owners intent for the facility is being honored both conceptually and contractually. | A business process which takes advantage of information stored in a BIM to help validate progress as well as ensuring that the owners intent for the facility is being honored both conceptually and contractually. | DKS
37 | PAY | Pay Applications | • A process that uses BIM(s) to track work in place for validating work completed and payments made to the contractors and sub-contractors. | Using the model to track work in place for the purpose of validating work completed and payments made to the contractors. | DKS
38 | LAS | Laser Scanning and Point Cloud Integration | • A process using a BIM to control steering of laser beams followed by a distance measurement at every pointing direction to validate that construction is in accordance with the BIM. • This approach is used to rapidly capture shapes of objects, buildings and landscapes. The point cloud generated can be used and interpreted by software to create a BIM of the existing conditions. • This process can be used with a BIM to add objects into an existing space or to automatically run piping ensuring the avoidance of clashes. | A process where the application is the controlled steering of laser beams followed by a distance measurement at every pointing direction. this is used to rapidly capture shapes of objects, buildings and landscapes. The point cloud generated is then interpreted by software to create a BIM of the existing conditions. This can be used to add objects into an existing space or to run automatically run piping ensuring the avoidance of clashes. | Wikipedia / DKS
39 | COM | Commissioning | • The process using BIM(s) for verifying all (or some, depending on scope) of all subsystems just prior to handover to ensure the owner's project requirements as intended by the owner and as designed by the building architects and engineers are met. • Recommissioning is the periodic methodical process of testing and adjusting the systems in existing buildings using the original projects BIM(s) to ensure continued efficiencies and to ensure sustainability analysis is in place. | The process of verifying, in new construction, all (or some, depending on scope) of the subsystems for mechanical (HVAC), plumbing, electrical, fire/life safety, building envelopes, interior systems (example laboratory units), co-generation, utility plants, sustainable systems, lighting, wastewater, controls, and building security to achieve the owner's project requirements as intended by the building owner and as designed by the building architects and engineers. Recommissioning is the methodical process of testing and adjusting the aforementioned systems in existing buildings. | Wikipedia
40 | REM | Record Modeling | • A process in which design intent BIMs revised to more accurately represent the completed facility and its assets. • This has potential to contain information regarding not only the main architectural and MEP elements, but equipment and asset information as well. • The record model may contain information regarding design specifications allowing for validation that the as-constructed BIMs meets or exceeds these specifications. • Furthermore, with the continuous improvement of the record model and the capability to store more information, the model contains a truerepresentionof spacewith information such as serial numbers, warranties the components in the building. | A process in which a 3D model contains an accurate depiction of the physical conditions and environment of a facility and its assets. This has potential to contain information regarding not only the main architectural and MEP elements, but equipment and asset information as well. Furthermore, with the continuous improvement of the record model and the capability to store more information, the model contains a true depiction of space with a link to information such as serial codes, warranties and maintenance history of all the components in the building. Moreover, the record model also contains information linking pre-build specification to as-built specifications. This allows the owner to monitor the project relative to the specifications provided. | PSU
41 | ACM | As-Constructed Modeling | • A process in which BIMs contain an accurate depiction of the physical conditions and environment of a facility and its assets. • This has potential to contain information regarding not only the main architectural and MEP elements, but equipment and asset information as well. • These models would be a true depiction of space and likely to contain linked to information such as warranties to components in the building. • The as-constructed model differs from the record model as it is not a legal document but a more fluid model identifying changes that have occurred during construction process. • As-built is often used interchangeable with As-constructed. | A process in which a 3D model contains an accurate depiction of the physical conditions and environment of a facility and its assets. This has potential to contain information regarding not only the main architectural and MEP elements, but equipment and asset information as well. Furthermore, with the continuous improvement of the record model and the capability to store more information, the model contains a true depiction of space with a link to information such as serial codes, warranties and maintenance history of all the components in the building. Moreover, the record model also contains information linking pre-build specification to as-built specifications. This allows the owner to monitor the project relative to the specifications provided. The as-built model differs from the record model as it is not a legal document but a more fluid model identifying changes that have occurred since the model of record was created and locked. | PSU / DKS
42 | ASM | Asset Management | • A process using BIM(s) in which an organized management system will efficiently aid in the maintenance and operation of a facility and its assets. • The assets included in BIM(s), consisting of the physical building, systems, surrounding environment, and equipment, must be maintained, upgraded, and operated at an efficiency which will satisfy both the owner and users at the lowest appropriate cost. • It assists in financial decision-making, as well as short-term and long-term planning are also supported by the BIM(s). • Asset Management utilizes the data contained in record BIM(s) to determine cost implications of changing or upgrading building assets, segregate costs of assets for financial tax purposes, and maintain a current comprehensive database that can produce the value of a company's assets. | A process in which an organized management system will efficiently aid in the maintenance and operation of a facility and its assets. These assets, consisting of the physical building, systems, surrounding environment, and equipment, must be maintained, upgraded, and operated at an efficiency which will satisfy both the owner and users at the lowest appropriate cost. It assists in financial decision-making, as well as short-term and long-term planning. Asset Management utilizes the data contained in a record model to determine cost implications of changing or upgrading building assets, segregate costs of assets for financial tax purposes, and maintain a current comprehensive database that can produce the value of a company's assets. | PSU
43 | SMT | Space Management & Tracking | • A process in which BIM(s) are utilized to effectively allocate, manage, and track assigned workspaces and resources. • BIM(s) will allow the facility management team to analyze the existing use of the space and appropriately manage changes in clientele, use of space, and future changes throughout the facility's lifecycle. • Space management and tracking is an application of the record BIM(s). | A process in which BIM is utilized to effectively allocate, manage, and track assigned workspaces and resources. A BIM will allow the facility management team to analyze the existing use of the space and appropriately manage changes in clientele, use of space, and future changes throughout the facility's lifecycle. Space management and tracking is an application of the record model. | PSU
44 | MRI | Maintenance & Repair Information | • A process to allow the collection and storage of maintenance and repair information about objects to be brought into BIM(s). • All information is available electronically at some point in its existence. It is key to be able to receive it in a form that will be usable and can be included in BIM(s). • Product libraries, once available, may be the easiest approach to collecting this information. • The tool will also need to be able to update the BIM(s) as work orders are executed and if specifications about the objects change. | A function to allow the collection and storage of maintenance and repair information about objects brought into a BIM. Given that the information is available electronically at some point in its existence it is key to be able to receive it in a form that will be usable. Product libraries once available may be the easiest approach to collecting this information. The tool will also need to be able to be updated as work orders are developed if specifications about the objects change. | DKS
45 | FMD | FM Documentation | • A process where a facility data schema is developed to ensure information is supplied to the BIM(s) in electronic form so that it can be easily exchanged between the BIM(s) and the organizations selected IWMS tool. • The capability should include textural as well as graphic entities. • The breadth of the facility data is dependent the ability of organization to capture and sustain it. | A process where a facility data schema is developed to ensure information is supplied to the BIM in electronic form so that it can be easily exchanged between the BIM and the organizations selected IWMS tool. The capability should include textural as well as graphic entities. The breadth of the facility data is dependent the ability of organization to capture and sustain it. | DKS
46 | BMS | Building Maintenance Scheduling | • A process in which the functionality of the building structure (walls, floors, roof, etc.) and equipment serving the building (mechanical, electrical, plumbing, etc.) are maintained over the operational life of a facility using BIM(s). • A successful maintenance program will improve building performance, reduce energy repairs, and reduce overall maintenance costs. | A process in which the functionality of the building structure (walls, floors, roof, etc.) and equipment serving the building (mechanical, electrical, plumbing, etc.) are maintained over the operational life of a facility. A successful maintenance program will improve building performance, reduce energy repairs, and reduce overall maintenance costs. | PSU
47 | DRC | Disaster Planning / EM Preparation | • A process in which emergency responders would have access to critical building information in the form of BIM(s). • The BIM(s) would provide critical building information to the responders, that would improve the efficiency of the response and, more importantly, minimize the safety risks. • The dynamic building information would be provided by a building automation system (BAS), while the static building information, such as floor plans and equipment schematics, would reside in BIM(s). • These two systems would be integrated via a wireless connection and emergency responders would be linked to an overall system. The BIM(s) coupled with the BAS would be able to clearly display where the emergency was located within the building, possible routes to the area, and any harmful equipment or material locations within the building. | A process in which emergency responders would have access to critical building information in the form of model and information system. The BIM would provide critical building information to the responders, that would improve the efficiency of the response and, more importantly, minimize the safety risks. The dynamic building information would be provided by a building automation system (BAS), while the static building information, such as floor plans and equipment schematics, would reside in a BIM. These two systems would be integrated via a wireless connection and emergency responders would be linked to an overall system. The BIM coupled with the BAS would be able to clearly display where the emergency was located within the building, possible routes to the area, and any other harmful locations within the building. | PSU
48 | SKM | Security / Key Management | • A process to identify and evaluate the security zones in the facility using BIM(s). The evaluation ensures that there are no "leaks" in the security strategy. • Further the process includes identifying the door keys required for openings through the security perimeters established to ensure that the level of security as designed is maintained. | A process to identify and evaluate the security zones in the facility using BIM. The evaluation ensures that there are no "leaks" in the security strategy. Further the process includes identifying the door keys required for openings through the security perimeters established to ensure that the level of security defined is maintained. | DKS
49 | CMA | Communication Moves, Adds, Changes | • A process tying the BIM(s) to personnel management to help ensure that telephones are in place and the minimum number of lines are being paid. • This item also ensures that hard wired computers are operational when a person is in a space. | A process tied to personnel management to help ensure that telephones are in place and the minimum number of lines are being paid for. This item also ensures that hard wired computers are operational when a person is located in a space. | DKS
50 | WAF | Way finding | • A process of using the BIM(s) for documenting and aiding facility or site occupants. Wayfinding encompasses all the ways in which people (and animals) orient themselves in physical space and navigate from place to place. | A process of documenting and providing assistance to facility or site occupants. Wayfinding encompasses all of the ways in which people (and animals) orient themselves in physical space and navigate from place to place. | Wikipedia / DKS
(Note: Definitions have been modified to eliminate BIM Model, which is redundant)

## Use Case Strategy
BIM Projects Use Case Strategy
[7 empty] | PLAN | [17 empty] | DESIGN | [17 empty] | CONSTRUCT | [17 empty] | HANDOVER / COMMISSIONING | [17 empty] | OPERATE
Click here for legend
Phase
Seq | Use Case | P | D | C | H | O | OWNER | PM | ARCH | STRUCT | MEP | CIVIL | LANDS | CM | GC | STEEL | MECH | ELECT | PLUMB | GLAZ | TBD | LOD | Requirement | Notes | OWNER | PM | ARCH | STRUCT | MEP | CIVIL | LANDS | CM | GC | STEEL | MECH | ELECT | PLUMB | GLAZ | TBD | LOD | Requirement | Notes | OWNER | PM | ARCH | STRUCT | MEP | CIVIL | LANDS | CM | GC | STEEL | MECH | ELECT | PLUMB | GLAZ | TBD | LOD | Requirement | Notes | OWNER | PM | ARCH | STRUCT | MEP | CIVIL | LANDS | CM | GC | STEEL | MECH | ELECT | PLUMB | GLAZ | TBD | LOD | Requirement | Notes | OWNER | PM | ARCH | STRUCT | MEP | CIVIL | LANDS | CM | GC | STEEL | MECH | ELECT | PLUMB | GLAZ | TBD | LOD | Requirement | Notes
1 | Existing Conditions Modeling (ECM)
2 | Site Utilization Planning (SUP)
3 | Site Analysis (SAN)
4 | Architectural Programming (ARP)
5 | Visualization (VIZ)
6 | Simulation (SIM)
7 | Spatial analysis (SPA)
8 | Specification production (SPR)
9 | Quantity Take Off (QTO)
10 | Cost analysis / Estimation (CAE)
11 | Total Cost of Ownership (TCO)
12 | Design Authoring and Briefing (DAB)
13 | Design Reviews (DER)
14 | Sustainability (LEED) Evaluation (SEV)
15 | Design to Maintain Analysis (D2M)
16 | Structural Analysis (STR)
17 | Lighting Analysis (LTA)
18 | Energy Analysis (ENA)
19 | Mechanical Analysis (MEA)
20 | Electrical Analysis (ELA)
21 | Other Egineering Analysis (OEA)
22 | Building System Analysis (BSA)
23 | 3D Coordination (3DC)
24 | 3D Control and Planning (3DP)
25 | Product Library (PRL)
26 | Manufacturers Information (Incl. LCA) (MAI)
27 | Product Selection (PRS)
28 | Perform procurement (PEP)
29 | Field & Material tracking (FMT)
30 | Code Validation (COV)
31 | Construction System Design (CSD)
32 | Phase Planning (4D Modeling) (PHP)
33 | Digital Fabrication (DFC)
34 | Digital Layout - BIM 2 Field (B2F)
35 | QA/QC - Consistency control (QCC)
36 | Owner Approval (OWA)
37 | Pay Applications (PAY)
38 | Laser Scanning (LAS)
39 | Commissioning (COM)
40 | Record Modeling (REM)
41 | As Constructed Modeling (ACM)
42 | Asset Management (ASM)
43 | Space Management and Tracking (SMT)
44 | Maintenance & Repair Information (MRI)
45 | FM Documentation (FMD) - Facility Data Exchange With IWMS
46 | Building (Preventative) Maintenance Scheduling (BMS)
47 | Disaster Planning / Emergency Preparedness (DRC)
48 | Security & Key Management (SKM)
49 | Communication move/add/change management (CMA)
50 | Way finding (WF)

## Legend
Legend: | Typical Agent Responsible |  | Note for use:
| OWN | Owner | This table is used to identify a strategy for using Use Cases
| PM | Project Management | in a project. The items greyed out are typically not used in
| ARCH | Architect | that phase of a project.
| STRUCT | Structural Engineer | It is used t identify the roles and responsiibilities of each actor
| MEP | Building Systems (MEP) engineer | It is used to identify what is to be included in a model.
| CIVIL | Civil Engineer | It is used to identify the level of development expected at each
| LANDS | Landscape Designer | phase of the project
| CM | Construction Manager
| GC | General Contractor
| STEEL | Steel Subcontractor
| MECH | Mechanical Subcontractor
| ELECT | Electrical Subcontractor
| PLUMB | Plumbing Subcontractor
| GLAZ | Curtain Wall/ Glazing Subcontractor
| TBD | To Be Determined
Responsibility Code
| L | Lead for use case model
| S | Supports development of use case model
| U | User of use case model
LOD - Level of Development (See LOD tab for details)
| 100 | Massing / Planning Level
| 200 | Generic Design Level
| 300 | Design Coordination Level
| 350 | Construction Coordination Level
| 400 | Fabrication Level
| 500 | Field Verified / As-Built Level
Requirement
Required
Preferred
Optional
N/A
Return to Table
Notes: |  | Note
| 1 | Provide Existing Conditions models for reference in starting a project. All field conditions are to be verified. Refer to Digital Deliverable Policy for more information regarding BIMs and other existing conditions documentation provided by owner
2
3
4
5
6
7
8
9
10

## LOD
Fundamental LOD Definitions
LOD 100 - Massing / Planning Level
The Model Element may be graphically represented in the Model with a symbol or other generic representation, but does not satisfy the requirements for LOD 200. Information related to the Model Element (i.e. cost per square foot, tonnage of HVAC, etc.) can be derived from other Model Elements.
BIMForum Interpretation: LOD 100 elements are not geometric representations. Examples are information attached to other model elements or symbols showing the existence of a component but not its shape, size, or precise location. Any information derived from LOD 100 elements must be considered approximate.
LOD 200 - Generic Design Level
The Model Element is graphically represented within the Model as a generic system, object, or assembly with approximate quantities, size, shape, location, and orientation. Non-graphic information may also be attached to the Model Element.
BIMForum interpretation: At this LOD elements are generic placeholders. They may be recognizable as the components they represent, or they may be volumes for space reservation. Any information derived from LOD 200 elements must be considered
LOD 300 - Design Coordination Level
The Model Element is graphically represented within the Model as a specific system, object or assembly in terms of quantity, size, shape, location, and orientation. Non-graphic information may also be attached to the Model Element.
BIMForum interpretation: The quantity, size, shape, location, and orientation of the element as designed can be measured directly from the model without referring to non-modeled information such as notes or dimension call-outs. The project origin is defined and the element is located accurately with respect to the project origin.
LOD 350 - Construction Coordination Level
The Model Element is graphically represented within the Model as a specific system, object, or assembly in terms of quantity, size, shape, location, orientation, and interfaces with other building systems. Non-graphic information may also be attached to the Model Element.
BIMForum interpretation: Parts necessary for coordination of the element with nearby or attached elements are modeled. These parts will include such items as supports and connections. The quantity, size, shape, location, and orientation of the element as designed can be measured directly from the model without referring to non-modeled information such as notes or dimension call-outs.
LOD 400 - Fabrication Level
The Model Element is graphically represented within the Model as a specific system, object or assembly in terms of size, shape, location, quantity, and orientation with detailing, fabrication, assembly, and installation information. Non-graphic information may also be attached to the Model Element.
BIMForum interpretation: An LOD 400 element is modeled at sufficient detail and accuracy for fabrication of the represented component. The quantity, size, shape, location, and orientation of the element as designed can be measured directly from the model without referring to non-modeled information such as notes or dimension call-outs.
LOD 500 - Field Verified / As Built Level
The Model Element is a field verified representation in terms of size, shape, location, quantity, and orientation. Non-graphic information may also be attached to the Model Elements.
BIMForum interpretation: Since LOD 500 relates to field verification and is not an indication of progression to a higher level of model element geometry or non-graphic information, this Specification does not define or illustrate it.
The definitions for LOD 100, 200, 300, 400, and 500 included in this Specification represent the updated language that appears in the AIA’s most recent BIM protocol document, G202–2013, Building Information Modeling Protocol Form. The LOD 100, 200, 300, 400 and 500 definitions are produced by the AIA and have been used by permission. Copyright © 2013. The American Institute of Architects. All rights reserved. LOD 350 was developed by the BIMForum working group. Copyright © 2013. The BIMForum and the American Institute of Architects. All rights reserved.

## ECM
Existing Conditions Modeling (ECM)
Definition from BIM Execution Guide
Description:
A process in which a project team develops a 3D model of the existing conditions for a site, facilities on a site, or a specific area within a facility. This model can be developed in multiple ways depending on what is desired and what is most efficient. Once the model is constructed, it can be queried for information, whether it is for new construction or a modernization project.
Potential Value / Outcomes of This Use Case:
Document existing building for future and historical use  Provide documentation of environment for future uses  Enhance efficiency and accuracy of existing conditions documentation  Provide location information  Aids in future modeling and 3D design coordination  Use for visualization purposes
Resources Required:
3D Model manipulation  3D Laser scanning  3D Laser scanning point cloud translation into objects
Team Competencies Required: 
Ability to manipulate, navigate, and review a 3D model  Knowledge of BIM authoring tools  Knowledge of 3D laser scanning tools
Selected Resources:
GSA BIM Guide Series 3. 3D Laser Scanning.
Process Model

## SUP
Site Utilization Planning (SUP)
Definition from BIM Execution Guide
Description:
A process in which a 4D model is used to graphically represent both permanent and temporary facilities on site, with the construction activity schedule. Additional information incorporated into the model can include labor resources, materials and associated deliveries, and equipment location. Because the 3D model components are directly linked to the schedule, site management functions such as visualized planning, short-term re-planning, and resources can be analyzed over different spatial and temporal data.
Potential Value / Outcomes of This Use Case:
 Generate site usage layout for temporary facilities, assembly areas, and material deliveries for all phases of construction  Identify potential and critical space and time conflicts  Select a feasible construction scheme  Update site organization and space usage as construction progresses  Ability to perform what if modeling to optimize site usage and minimize material moves on site  Ability to help optimize location of cranes and other equipment needed during construction
Resources Required:
3D Model manipulation  Design authoring software  Scheduling software Team Competencies Required
Team Competencies Required: 
Ability to manipulate, navigate, and review 3D model  Ability to manipulate and asses construction schedule with 3D model  Ability to understand typical construction methods
Selected Resources:
Chau, K.W.; M. Anson, and J.P. Zhang. “Four-Dimensional Visualization of Construction Scheduling and Site Utilization.” Journal of Construction Engineering and Management. (July/August 2004): 598-606. ASCE. 5 September 2008. http://cedb.asce.org/cgi/WWWdisplay.cgi?0410956.  Dawood, Nashwam et al. “The Virtual Construction Site (VIRCON) Tools: An Industrial Evaluation.” ITcon. Vol. 10 (2005): 43-54. 8 September 2008. http://www.itcon.org/cgi-bin/works/Show?2005_5.  Heesom, David and Lamine Mahdjoubi. “Trends of 4D CAD Applications for Construction Planning.” Construction Management and Economics. (February 2004). 22 171-182. 8 September 2008. http://www.tamu.edu/classes/choudhury/articles/1.pdf.
Process Model

## SAN
Site Analysis (SAN)
Definition from BIM Execution Guide
Description:
A process in which BIM/GIS tools are used to evaluate properties in a given area to determine the most optimal site location for a future project. The site data collected is used to first select the site and then position the building based on other criteria.
Potential Value:
Use calculated decision making to determine if potential sites meet the required criteria according to project requirements, technical factors, and financial factors  Decrease costs of utility demand and demolition  Increase energy efficiency  Minimize risk of hazardous material  Maximize return on investment
Resources Required:
GIS software  3D Model manipulation
Team Competencies Required: 
Ability to manipulate, navigate, and review a 3D model  Knowledge and understanding of local authority’s system (GIS, database information)
Selected Resources:
The Site Selection Guide. US General Services Administration (GSA) Public Building Service.  Optimal Site Selection for Military Land Management, R.M. Wallace, ASCE Conf. Proc. 138, 159 (2004). DOI: 10. 1061/40737(2004)159.  Farnsworth, Stephen J. “Site Selection Perspective.” Prospecting Sites. June 1995, 29-31.  WPBG Sustainable Committee. Optimizing Site Potential.  Suermann P.C. Leveraging GIS Tools in Defense and Response at the U.S. Air Force Academy. ASCE Conf. Proc. 179, 82 (2005) DOI: 10. 1061/40794(179)82.  GIS – Based Engineering Management Service Functions: Taking GIS Beyond Mapping for Municipal Governments.
Process Model

## ARP
Architectural Programming (ARP)
Definition from BIM Execution Guide
Description:
A process in which a spatial program is used to efficiently and accurately assess design performance in regard to spatial requirements. The developed BIM model allows the project team to analyze space and understand the complexity of space standards and regulations. Critical decisions are made in this phase of design and bring the most value to the project when needs and options are discussed with the client and the best approach is analyzed.
Potential Value:
Efficient and accurate assessment of design performance in regard to spatial requirements by the owner.
Resources Required:
Design Authoring Software
Team Competencies Required: 
Ability to manipulate, navigate, and review a 3D model
Selected Resources:
GSA BIM Guide
Process Model

## VIZ
Visualization (VIZ)
Definition from BIM Execution Guide
Description:
Is any technique for creating images, diagrams, or animations to communicate a message. Visualization through visual imagery has been an effective way to communicate both abstract and concrete ideas since the dawn of humanity. Visualization today has ever-expanding applications in science, education, engineering (e.g., product visualization), interactive multimedia, medicine, etc. Typical of a visualization application is the field of computer graphics. The invention of computer graphics may be the most important development in visualization since the invention of central perspective in the Renaissance period. The development of animation also helped advance visualization.
Potential Value:
Better communication between owner and designer during design Better understanding of the constructability for the contractor Aids in safety by being able to walk through difficult or potentially dangerous installations Reduces rework and change orders by identifying issues before construction. Reduces time to completion
Resources Required:
A model of the facility 3D tools to rotate model Ability to assemble model objects
Team Competencies Required: 
Knowledge of BIM software Ability to visualize in 3D
Selected Resources:
Process Model

## SIM
Simulation (SIM)
Definition from BIM Execution Guide
Description:
Simulation is the imitation of the operation of a real-world process or system over time. The act of simulating something first requires that a model be developed; this model represents the key characteristics or behaviors/functions of the selected physical or abstract system or process. The model represents the system itself, whereas the simulation represents the operation of the system over time. Simulation is used in many contexts, such as simulation of technology for performance optimization, safety engineering, testing, training, education, and video games. Often, computer experiments are used to study simulation models. Simulation is also used with scientific modelling of natural systems or human systems to gain insight into their functioning. Simulation can be used to show the eventual real effects of alternative conditions and courses of action. Simulation is also used when the real system cannot be engaged, because it may not be accessible, or it may be dangerous or unacceptable to engage, or it is being designed but not yet built, or it may simply not exist.
Potential Value:
Simulation goes beyond visualization as it identifies alternatives Provides evaluation of alternatives Projects how the facility is to be used Allows a walk through of critical phases Identify alternative approaches
Resources Required:
A 3D model of the facility or critical parts
Team Competencies Required: 
Competency with using BIM software
Selected Resources:
Process Model

## SPA
Spatial Analysis (SPA)
Definition from BIM Execution Guide
Description:
Fuzzy architectural spatial analysis was developed by Burcin Cem Arabacioglu (2010) from the architectural theories of space syntax and visibility graph analysis, and is applied with the help of a fuzzy system with a Mamdami inference system based on fuzzy logic within any architectural space. Fuzzy architectural spatial analysis model analyses the space by considering the perceivable architectural element by their boundary and stress characteristics and intensity properties. The method is capable of taking all sensorial factors into account during analyses in conformably with the perception process of architectural space which is a multi-sensorial act.
Potential Value:
Used for massing and flow studies and analysis Assessing how a structure will impact surrounding community Identify major issues early in planning and design
Resources Required:
#D massing model
Team Competencies Required: 
Ability to use massing study software
Selected Resources:
Process Model

## SPR
Specification production (SPR)
Definition from BIM Execution Guide
Description:
A data based three part specification system linked to the objects selected to be included in a BIM which responds to any changes or alternatives items added, or subtracted from the model.
Potential Value:
Providing a more direct link to specifications and the model and thus the costs Ensure more accurate information included in the model Ensuring the costing reflects qualitative implications Helping to deliver project on budget
Resources Required:
Specification linked to objects in model
Team Competencies Required: 
Ability to work with object based specifications
Selected Resources:
Process Model

## QTO
Quantity Take Off (QTO)
Definition from BIM Execution Guide
Description:
Quantity take-off’s (QTO) are a detailed measurement of materials and labor needed to complete a construction project. They are developed by an estimator during the preconstruction phase or for change orders during construction. These measurements are used to format a bid on the scope of construction. Estimators review drawings and specifications or BIM's to find these quantities. Experienced estimators have developed procedures to help them quantify their work. Many programs have been developed to aid in the efficacy of these processes.
Potential Value:
Provide accurate and identifiable quantities Help deliver project on budget Feeds all costing applications including TCO
Resources Required:
Accurate 3D model
Team Competencies Required: 
Ability to perform quantity take off from a model
Selected Resources:
Process Model

## CAE
Cost analysis (CAE)
Definition from BIM Execution Guide
Description:
A process in which a BIM model can be used to generate an accurate quantity take-off and cost estimate early in the design process and provide cost effects of additions and modifications with potential to save time and money and avoid budget overruns. This process also allows designers to see the cost effects of their changes in a timely manner which can help curb excessive budget overruns due to project modifications.
Potential Value:
Precisely estimate material quantities and generate quick revisions if needed  Stay within budget constraints with frequent preliminary cost estimate while the design progresses  Better visual representation of project and construction elements that need to be estimated: taken off and priced  Provide cost information to the owner during the early decision making phase of design  Focus on more value adding activities in estimating like identifying construction assemblies, generating pricing and factoring risks then quantity take-off, which are essential for high quality estimates.  Exploring different design options and concepts within the owner’s budget  Saving estimator’s time and allowing them to focus on more important issues in an estimate since take-offs can be automatically provided.  Quickly determine costs of specific objects
Resources Required:
Model-based estimating software  Design authoring software  Cost data
Team Competencies Required: 
Ability to define specific design modeling procedures which yield accurate quantity take-off information  Ability to identify quantities for the appropriate estimating level (e.g. ROM, SF, etc.) upfront
Selected Resources:
Lee, H., Lee, Kim, J. (2008). A cost-based interior design decision support system for large-scale housing projects, ITcon Vol. 13, Pg. 20-38, http://www.itcon.org/2008/2  Autodesk Revit. "BIM and Cost Estimating.” Press release. Jan. 2007. Autodesk. 11 Sept. 2008. http://images.autodesk.com/adsk/files/bim_cost_estimating_jan07_1_.pdf  Dean, R. P., and McClendon, S. (2007). "Specifying and Cost Estimating with BIM.” ARCHI TECH. Apr. 2007. ARCHI TECH. 13 Sept. 2008. http://www.architechmag.com/articles/detail.aspx?contentid=3624.  Khemlani, L. (2006). "Visual Estimating: Extending BIM to Construction.” AEC Bytes. 21 Mar. 2006. 13 Sept. 2008. http://www.aecbytes.com/buildingthefuture/2006/visualestimating.html  Buckley, B. (2008). "BIM Cost Management.” California Construction. June 2008. 13 Sept. 2008.  Manning, R.; Messner, J. (2008). Case studies in BIM implementation for programming of healthcare facilities, ITcon Vol. 13, Special Issue Case studies of BIM use, Pg. 246-257, http://www.itcon.org/2008/18
Process Model

## TCO
Total Cost of Ownership (TCO)
Definition from BIM Execution Guide
Description:
A financial estimate intended to help buyers and owners determine all direct and indirect costs of a product or system. It is a management accounting concept that can be used in full cost accounting or even ecological economics where it includes social costs.
Potential Value:
Move past only looking at first cost Provides owner better understanding of future budgets Help select objects with lower total cost impact on the facility
Resources Required:
A quantity take off Object based tool to look at alternatives TCO costing tools
Team Competencies Required: 
Understanding of TCO concepts Ability to work with reserve studies
Selected Resources:
ANSI apporved APPA 1000™ Total Cost of Ownership Part 1 - Principles, Part 2 Implementation and Data Elements
Process Model

## DAB
Design Authoring and Briefing (DAB)
Definition from BIM Execution Guide
Description:
A process in which 3D software is used to develop a BIM model based on criteria that is important to the translation of the building’s design. Two groups of applications are at the core of BIM-based design process are design authoring tools and audit and analysis tools. Authoring tools create models while audit and analysis tools study or add to the richness of information in a model. Most of audit and analysis tools can be used for Design Review and Engineering Analysis BIM Uses. Design authoring tools are a first step towards BIM and the key is connecting the 3D model with a powerful database of properties, quantities, means and methods, costs and schedules.
Potential Value:
Transparency of design for all stakeholders  Better control and quality control of design, cost and schedule  Powerful design visualization  True collaboration between project stakeholders and BIM users  Improved quality control and assurance
Resources Required:
3D Model manipulation
Team Competencies Required: 
Ability to manipulate, navigate, and review a 3D model  Knowledge of construction means and methods  Design and construction experience
Selected Resources:
Tardif, M. (2008). BIM: Reaching Forward, Reaching Back. AIArchitect This Week. Face of the AIA. AIArchitect
Process Model

## DER
Design Reviews (DER)
Definition from BIM Execution Guide
Description:
A process in which a 3D model is used to showcase the design to the stakeholders and evaluate meeting the program and set criteria such as layout, sightlines, lighting, security, ergonomics, acoustics, textures and colors, etc. Virtual mock-up can be done in high detail even on a part of the building like façade to quickly analyze design alternatives and solve design and constructability issues. If properly executed, these reviews can resolve design issues by offering different options, and cutting down the cost and time invested considering basic construction, making modifications after reviews and final demolition and removal expense. Evaluation of the designed space can be facilitated by high degree of interactivity in order to get positive feedback from end users and owner. Some of the top criteria in evaluation of the courtrooms are: sightlines, lighting, ADA compliance, safety, security, acoustics, HVAC, ergonomics, aesthetics and millwork tolerances. Real-time modifications of design are enabled based on the end users feedback. Therefore, decision making time is cut in half since the attention focus is on one issue at a time until the consensus is reached.
Potential Value:
Eliminate costly and timely traditional construction mock-ups  Different design options and alternatives are easy to model and change real-time during design review by end users or owner  Create shorter and more efficient design reviews  Resolve the conflicts that would arise in a mock-up and model the potential fixes in real-time along with tolerances revised and RFI’s answered  Preview space aesthetics and layout during design review in a virtual environment  Evaluate effectiveness of design in meeting building program criteria and owner's needs  Creates efficiencies in design process  Easily communicate the design to the owner, construction team and end users. Get instant feedback on meeting program requirements, owner’s needs and building or space aesthetics
Resources Required:
3D Model manipulation  Design Review Software  Interactive review space
Team Competencies Required: 
Ability to manipulate, navigate, and review a 3D model  Ability to model photo realistically including textures, colors and finishes and easily navigable by using different software or plug-ins.
Selected Resources:
Dunston, Phillip S., Arns, Laura L., and McGlothin, James D. (2007). "An Immersive Virtual Reality Mock-up for Design Review of Hospital Patient Rooms," 7th International Conference on Construction Applications of Virtual Reality, University Park, Pennsylvania, October 22-23, 9 pages  Majumdar, Tulika, Fischer, Martin A., and Schwegler, Benedict R. (2006). "Conceptual Design Review with a Virtual Reality Mock-Up Model," Building on IT: Joint International Conference on Computing and Decision Making in Civil and Building Engineering, Hugues Rivard, Edmond Miresco, and Hani Melham, editors, Montreal, Canada, June 14-16, 2902-2911.  Maldovan, Kurt D., Messner, John I., and Faddoul, Mera (2006). "Framework for Reviewing Mockups in an Immersive Environment," CONVR 2006: 6th International Conference on Construction Applications of Virtual Reality, R. Raymond Issa, editor, Orlando, Florida, August 3-4, on CD, 6 pages
Process Model

## SEV
Sustainability Evaluation (SEV)
Definition from BIM Execution Guide
Description:
A process in which a project is evaluated based on LEED or other sustainable criteria. This can refer to materials, performance, or a process. Sustainability Evaluations can be applied across all four phases of a construction project, Planning, Design, Construction, and Operation. Sustainability evaluation is most effective when it is done in planning and design stages and then applied in the construction and operations phase. Model all sustainable aspects of a project throughout its life-cycle in order to obtain the desired LEED certification in the most efficient manner by condensing design analyses into a single database.
Potential Value:
Accelerate design review and LEED certification process with efficient use of a single database with all the sustainable features present and archived  Improved communication between project participants in order to achieve LEED credits and decreased redesign efforts as a result  Align scheduling and material quantities tracking for more efficient material use and better cash flow analysis  Optimize building performance by tracking energy use, indoor air quality and space planning for the adherence to LEED standards leading to integrated facility management using a BIM model
Resources Required:
3D Model manipulation  LEED credit knowledge
Team Competencies Required: 
Ability to manipulate, navigate, and review a 3D model  Knowledge of current LEED credit information
Selected Resources:
Building Information Modeling for Sustainable Design: http://goliath.ecnext.com/coms2/gi_01997985352/Building-information-modeling-for-sustainable.html  Sustainable Perspectives: Building Information Modeling for Sustainable Design: http://www.edcmag.com/Articles/Featured_Special_Sections/BNP_GUID_9-5-2006_A_10000000000000214529  Building Information for Sustainable Design (Revit White Paper)  Building Information Modeling and the Adoption of Green Technologies: http://www.triplepundit.com/2008/05/building-information-modeling-and-the-adoption-of-green-technologies/  Krygiel, E., and Brad N. (2008). Green BIM: Successful Sustainable Design with Building Information Modeling. San Francisco: Sybex, 2008.
Process Model

## D2M
Design to Maintain (D2M)
Definition from BIM Execution Guide
Description:
An evaluation process where each object selected during design for inclusion in a BIM are evaluated for life cycle maintenance issues, such as clearances to perform routine maintenance activates to include complete replacement of the object or any of its components.
Potential Value:
Ensure that objects selected are maintainable Provide tool to allow design and facility management to communicate Ensure facility managers understand what they will be operating
Resources Required:
A 3D model A list of objects to be included in facility Maintenance and repair information about the objects
Team Competencies Required: 
Ability to work with and manipulate models Understandaing of maintenance requirments of objects included in model
Selected Resources:
Process Model

## STR
Structural Analysis (STR)
Definition from BIM Execution Guide
Description:
A process in which a project is evaluated based on LEED or other sustainable criteria. This can refer to materials, performance, or a process. Sustainability Evaluations can be applied across all four phases of a construction project, Planning, Design, Construction, and Operation. Sustainability evaluation is most effective when it is done in planning and design stages and then applied in the construction and operations phase. Model all sustainable aspects of a project throughout its life-cycle in order to obtain the desired LEED certification in the most efficient manner by condensing design analyses into a single database.
Potential Value:
Accelerate design review and LEED certification process with efficient use of a single database with all the sustainable features present and archived  Improved communication between project participants in order to achieve LEED credits and decreased redesign efforts as a result  Align scheduling and material quantities tracking for more efficient material use and better cash flow analysis  Optimize building performance by tracking energy use, indoor air quality and space planning for the adherence to LEED standards leading to integrated facility management using a BIM model
Resources Required:
3D Model manipulation  LEED credit knowledge
Team Competencies Required: 
Ability to manipulate, navigate, and review a 3D model  Knowledge of current LEED credit information
Selected Resources:
Building Information Modeling for Sustainable Design: http://goliath.ecnext.com/coms2/gi_01997985352/Building-information-modeling-for-sustainable.html  Sustainable Perspectives: Building Information Modeling for Sustainable Design: http://www.edcmag.com/Articles/Featured_Special_Sections/BNP_GUID_9-5-2006_A_10000000000000214529  Building Information for Sustainable Design (Revit White Paper)  Building Information Modeling and the Adoption of Green Technologies: http://www.triplepundit.com/2008/05/building-information-modeling-and-the-adoption-of-green-technologies/  Krygiel, E., and Brad N. (2008). Green BIM: Successful Sustainable Design with Building Information Modeling. San Francisco: Sybex, 2008.
Process Model

## LTA
Lighting Analysis (LTA)
Definition from BIM Execution Guide
Description:
A process in which a project is evaluated based on LEED or other sustainable criteria. This can refer to materials, performance, or a process. Sustainability Evaluations can be applied across all four phases of a construction project, Planning, Design, Construction, and Operation. Sustainability evaluation is most effective when it is done in planning and design stages and then applied in the construction and operations phase. Model all sustainable aspects of a project throughout its life-cycle in order to obtain the desired LEED certification in the most efficient manner by condensing design analyses into a single database.
Potential Value:
Accelerate design review and LEED certification process with efficient use of a single database with all the sustainable features present and archived  Improved communication between project participants in order to achieve LEED credits and decreased redesign efforts as a result  Align scheduling and material quantities tracking for more efficient material use and better cash flow analysis  Optimize building performance by tracking energy use, indoor air quality and space planning for the adherence to LEED standards leading to integrated facility management using a BIM model
Resources Required:
3D Model manipulation  LEED credit knowledge
Team Competencies Required: 
Ability to manipulate, navigate, and review a 3D model  Knowledge of current LEED credit information
Selected Resources:
Building Information Modeling for Sustainable Design: http://goliath.ecnext.com/coms2/gi_01997985352/Building-information-modeling-for-sustainable.html  Sustainable Perspectives: Building Information Modeling for Sustainable Design: http://www.edcmag.com/Articles/Featured_Special_Sections/BNP_GUID_9-5-2006_A_10000000000000214529  Building Information for Sustainable Design (Revit White Paper)  Building Information Modeling and the Adoption of Green Technologies: http://www.triplepundit.com/2008/05/building-information-modeling-and-the-adoption-of-green-technologies/  Krygiel, E., and Brad N. (2008). Green BIM: Successful Sustainable Design with Building Information Modeling. San Francisco: Sybex, 2008.
Process Model

## ENA
Energy Analysis (ENA)
Definition from BIM Execution Guide
Description:
A process in which intelligent modeling software uses the BIM model to determine the most effective engineering method based on design specifications. Development of this information is the basis for what will be passed on to the owner and/or operator for use in the building's systems (i.e. energy analysis, structural analysis, emergency evacuation planning, etc.). These analysis tools and performance simulations can significantly improve the design of the facility and its energy consumption during its lifecycle in the future.
Potential Value:
Automating analysis and saving time and cost  Analysis tools are less costly than BIM authoring tools, easier to learn and implement and less disruptive to established workflow  Improve specialized expertise and services offered by the design firm  Achieve optimum, energy-efficient design solution by applying various rigorous analyses  Faster return on investment with applying audit and analysis tools for engineering analyses  Improve the quality and reduce the cycle time of the design analyses Resources
Resources Required:
3D Model manipulation  Engineering analysis tools and software
Team Competencies Required: 
Ability to manipulate, navigate, and review a 3D Model  Ability to assess a model through engineering analysis tools  Knowledge of construction means and methods  Design and construction experience
Selected Resources:
Malin, N. (2008). BIM Companies Acquiring Energy Modeling Capabilities. http://greensource.construction.com/news/080403BIMModeling.asp  Marsh, A. (2006). Ecotect as a Teaching Tool. http://naturalfrequency.com/articles/ecotectasteacher  Marsh, A. (2006). Building Analysis: Work Smart, Not Hard. http://naturalfrequency.com/articles/smartmodelling  Novitzki, B. (2008). Energy Modeling for Sustainability. http://continuingeducation.construction.com/article.php?L=5&C=399  Stumpf, A., Brucker, B. (2008). BIM Enables Early Design Energy Analysis. http://www.cecer.army.mil/td/tips/docs/BIM-EnergyAnalysis.pdf  PIER Building Program (2008). Estimating Energy Use Early and Often. www.esource.com/esource/getpub/public/pdf/cec/CEC-TB-13_EstEnergyUse.pdf  Ecotect - Building Analysis for Designers. http://www.cabs-cad.com/ecotect.htm  Khemlani (2007). AECbytes: Building the Future (October 18, 2007).
Process Model

## MEA
Mechanical Analysis (MEA)
Definition from BIM Execution Guide
Description:
A process in which a project is evaluated based on LEED or other sustainable criteria. This can refer to materials, performance, or a process. Sustainability Evaluations can be applied across all four phases of a construction project, Planning, Design, Construction, and Operation. Sustainability evaluation is most effective when it is done in planning and design stages and then applied in the construction and operations phase. Model all sustainable aspects of a project throughout its life-cycle in order to obtain the desired LEED certification in the most efficient manner by condensing design analyses into a single database.
Potential Value:
Accelerate design review and LEED certification process with efficient use of a single database with all the sustainable features present and archived  Improved communication between project participants in order to achieve LEED credits and decreased redesign efforts as a result  Align scheduling and material quantities tracking for more efficient material use and better cash flow analysis  Optimize building performance by tracking energy use, indoor air quality and space planning for the adherence to LEED standards leading to integrated facility management using a BIM model
Resources Required:
3D Model manipulation  LEED credit knowledge
Team Competencies Required: 
Ability to manipulate, navigate, and review a 3D model  Knowledge of current LEED credit information
Selected Resources:
Building Information Modeling for Sustainable Design: http://goliath.ecnext.com/coms2/gi_01997985352/Building-information-modeling-for-sustainable.html  Sustainable Perspectives: Building Information Modeling for Sustainable Design: http://www.edcmag.com/Articles/Featured_Special_Sections/BNP_GUID_9-5-2006_A_10000000000000214529  Building Information for Sustainable Design (Revit White Paper)  Building Information Modeling and the Adoption of Green Technologies: http://www.triplepundit.com/2008/05/building-information-modeling-and-the-adoption-of-green-technologies/  Krygiel, E., and Brad N. (2008). Green BIM: Successful Sustainable Design with Building Information Modeling. San Francisco: Sybex, 2008.
Process Model

## ELA
Electrical Analysis (ELA)
Definition from BIM Execution Guide
Description:
A process in which a project is evaluated based on LEED or other sustainable criteria. This can refer to materials, performance, or a process. Sustainability Evaluations can be applied across all four phases of a construction project, Planning, Design, Construction, and Operation. Sustainability evaluation is most effective when it is done in planning and design stages and then applied in the construction and operations phase. Model all sustainable aspects of a project throughout its life-cycle in order to obtain the desired LEED certification in the most efficient manner by condensing design analyses into a single database.
Potential Value:
Accelerate design review and LEED certification process with efficient use of a single database with all the sustainable features present and archived  Improved communication between project participants in order to achieve LEED credits and decreased redesign efforts as a result  Align scheduling and material quantities tracking for more efficient material use and better cash flow analysis  Optimize building performance by tracking energy use, indoor air quality and space planning for the adherence to LEED standards leading to integrated facility management using a BIM model
Resources Required:
3D Model manipulation  LEED credit knowledge
Team Competencies Required: 
Ability to manipulate, navigate, and review a 3D model  Knowledge of current LEED credit information
Selected Resources:
Building Information Modeling for Sustainable Design: http://goliath.ecnext.com/coms2/gi_01997985352/Building-information-modeling-for-sustainable.html  Sustainable Perspectives: Building Information Modeling for Sustainable Design: http://www.edcmag.com/Articles/Featured_Special_Sections/BNP_GUID_9-5-2006_A_10000000000000214529  Building Information for Sustainable Design (Revit White Paper)  Building Information Modeling and the Adoption of Green Technologies: http://www.triplepundit.com/2008/05/building-information-modeling-and-the-adoption-of-green-technologies/  Krygiel, E., and Brad N. (2008). Green BIM: Successful Sustainable Design with Building Information Modeling. San Francisco: Sybex, 2008.
Process Model

## OEA
Other Engineering Analysis (OEA)
Definition from BIM Execution Guide
Description:
A process in which intelligent modeling software uses the BIM model to determine the most effective engineering method based on design specifications. Development of this information is the basis for what will be passed on to the owner and/or operator for use in the building's systems (i.e. energy analysis, structural analysis, emergency evacuation planning, etc.). These analysis tools and performance simulations can significantly improve the design of the facility and its energy consumption during its lifecycle in the future.
Potential Value:
Automating analysis and saving time and cost Analysis tools are less costly than BIM authoring tools, easier to learn and implement and less disruptive to established workflow Improve specialized expertise and services offered by the design firm Achieve optimum, energy-efficient design solution by applying various rigorous analyses Faster return on investment with applying audit and analysis tools for engineering analyses Improve the quality and reduce the cycle time of the design analyses
Resources Required:
Design Authoring Tools Engineering analysis tools and software
Team Competencies Required: 
Ability to manipulate, navigate, and review a 3D Model Ability to assess a model through engineering analysis tools Knowledge of construction means and methods Design and construction experience
Selected Resources:
Malin, N. (2008). BIM Companies Acquiring Energy Modeling Capabilities. http://greensource.construction.com/news/080403BIMModeling.asp Marsh, A. (2006). Ecotect as a Teaching Tool. http://naturalfrequency.com/articles/ecotectasteacher Marsh, A. (2006). Building Analysis: Work Smart, Not Hard. http://naturalfrequency.com/articles/smartmodelling Novitzki, B. (2008). Energy Modeling for Sustainability. http://continuingeducation.construction.com/article.php?L=5&C=399 Stumpf, A., Brucker, B. (2008). BIM Enables Early Design Energy Analysis. http://www.cecer.army.mil/td/tips/docs/BIM-EnergyAnalysis.pdf PIER Building Program (2008). Estimating Energy Use Early and Often. www.esource.com/esource/getpub/public/pdf/cec/CEC-TB-13_EstEnergyUse.pdf Ecotect - Building Analysis for Designers. http://www.cabs-cad.com/ecotect.htm Khemlani (2007). AECbytes: Building the Future (October 18, 2007).
Process Model

## BSA
Building System Analysis (BSA)
Definition from BIM Execution Guide
Description:
A process that measures how a building's performance compares to the specified design. This includes how the mechanical system operates and how much energy a building uses. Other aspects of this analysis include, but are not limited to, ventilated facade studies, lighting analysis, internal and external CFD airflow, , and solar analysis.
Potential Value:
Ensure building is operating to specified design and sustainable standards  Identify opportunities to modify system operations to improve performance  Create a "what if" scenario and change different materials throughout the building to show better or worse performance conditions
Resources Required:
3D Model manipulation  Building Systems Analysis Programs (Energy, Lighting, Mechanical, Other)
Team Competencies Required: 
Ability to manipulate, navigate, and review a 3D model  Ability to understand building systems and typical operations  Ability to assess building systems using analysis software
Selected Resources:
Ayat E. Osman, Robert Ries. " Optimization For Cogeneration Systems in Buildings Based on Life Cycle Assessment" May 2006, http://itocn.org/2006/20/  "Building Performance Analysis Using Revit" 2007 Autodesk Inc., http://images.autodesk.com/adsk/files/building_performance_analysis_using_revit.pdf
Process Model

## 3DC
3D Coordination (3DC)
Definition from BIM Execution Guide
Description:
A process in which Clash Detection software is used during the coordination process to determine field conflicts by comparing 3D models of building systems. The goal of clash detection is to eliminate the major system conflicts prior to installation.
Potential Value:
Coordinate building project through a model  Reduce and eliminate field conflicts; which reduces RFI's significantly compared to other methods  Visualize construction  Increase productivity  Reduced construction cost; potentially less cost growth (i.e. less change orders)  Decrease construction time  Increase productivity on site  More accurate as built drawings
Resources Required:
3D Model manipulation  Model Review application
Team Competencies Required: 
Ability to deal with people and project challenges  Ability to manipulate, navigate, and review a 3D model  Knowledge of BIM model applications for facility updates  Knowledge of building systems.
Selected Resources:
Staub-French S and Khanzode A (2007) **3D and 4D Modeling for design and construction coordination: issues and lessons learned** ITcon Vol. 12, pg. 381-407, http://www.itcon.org/2007/26  Khanzode A, Fischer M, Reed D (2008) **Benefits and lessons learned of implementing building virtual design and construction (VDC) technologies for coordination of mechanical, electrical, and plumbing (MEP) systems on a large healthcare project**, ITcon Vol. 13, Special Issue Case studies of BIM use , pg. 324-342, http://www.itcon.org/2008/22  AECbytes.com - venderhub
Process Model

## 3DP
3D Control and Planning (3DP)
Definition from BIM Execution Guide
Description:
A process that utilizes a model to layout the building assemblies and produce lift drawings. Lift drawings are 2D/3D component drawings used by foremen during on site construction.
Potential Value:
Decrease layout error by producing control directly from the 3D Construction Model  Increase communication between office and field personal  Decrease/Eliminate language barriers
Resources Required:
3D Model manipulation
Team Competencies Required: 
Ability to manipulate, navigate, and review a 3D model  Ability to understand and interpret lift drawings Selected
Selected Resources:
Process Model

## PRL
Product Library (PRL)
Definition from BIM Execution Guide
Description:
Several organizations are currently developing product libraries with various formats of information to include native formats for existing software as well as more open standards based data in IFC or COBie formats. Once established these systems will mature to ultimately include not only graphic and spatial information but also information related to technical specifications, engineering capabilities and tolerances, first cost, life cycle cost, maintenance and repair information, environmental information, mean time to failure information as well as installation , warranty and any other information pertinent to the selection of a product for suitability in a designed facility.
Potential Value:
Populating model with information about the objects being selected Populating COBie Providing accurate engineering information to improve selection process
Resources Required:
External tools to provide manufacturers information
Team Competencies Required: 
Ability to work with 3D model and external manufacturer information library
Selected Resources:
NBS in the UK BIM Objects/ Seek from Autodesk Other sources which are evolving
Process Model

## MAI
Manufacturers Information (Incl. LCA) (MAI)
Definition from BIM Execution Guide
Description:
Manufacturers information, while similar to or potentially information ultimately provided in a product library is currently available information, however not often in a machines readable format. This information is more detailed information about an object providing a parts list and identifiable nomenclature specific to ordering parts for maintenance and repair of existing objects. It does not include performance information.
Potential Value:
Provides accurate information directly from manufacturer about products use in the facility Can provide total cost information Can provide engineering information Populates IWMS tools to begin managing facility on day one Provides maintenance and repair information
Resources Required:
Tools to populate IWMS Tools to make product selections based on manufacturers provided information
Team Competencies Required: 
Ability to use selection tools for design, construction and operations
Selected Resources:
Process Model

## PRS
Product Selection (PRS)
Definition from BIM Execution Guide
Description:
A process of using product information provided primarily in product libraries to select one product over another. The more information the higher quality of the decision. It is similar to comparison charts provided for many products today. It may also include information from users or people who have purchased the products which indicate the products suitability to a specific use.
Potential Value:
Reducing costs - either first cost or total cost of ownership
Resources Required:
Product library
Team Competencies Required: 
Ability to use product selection tools
Selected Resources:
NBS BIM Object / Autodesk Seek
Process Model

## PEP
Perform procurement (PEP)
Definition from BIM Execution Guide
Description:
A process where once selected, an item is ordered using electronic means to help in planning just in time delivery as well as complete documentation of the product lifecycle management (PLM) process providing information to the recipient so the object can potentially be tracked throughout its manufacturer, fabrication and shipping process. This capability is similar to existing processes in place for many industries and is similar to Amazon Prime or Google Express. It can be used for initial purchase as well as supporting work orders in existing facilities. It may even be tied into automatic ordering tools that order, stock, inventory and track availability of routine maintenance parts. It can support and link to IWMS systems for scheduled maintenance activities.
Potential Value:
Reduced time to delivery Reduced delivery delays More accurate deliveries - just in time delivery Reduces product loss on job site
Resources Required:
Procurement tools linked to the model
Team Competencies Required: 
Ability to use procurement tools
Selected Resources:
Process Model

## COV
Code Validation (COV)
Definition from BIM Execution Guide
Description:
A process in which code validation software is utilized to check the model parameters against project specific codes. Code validation is currently in its infant stage of development within the U.S. and is not in widespread use. However, as model checking tools continue to develop, code compliance software with more codes, code validation should become more prevalent within the design industry.
Potential Value:
Validate that building design is in compliance with specific codes, e.g. IBC International Building Code, ADA Americans with Disabilities Act guidelines and other project related codes using the 3D BIM model.  Code validation done early in design reduces the chance of code design errors, omissions or oversights that would be time consuming and more expensive to correct later in design or construction.  Code validation done automatically while design progresses gives continuous feedback on code compliance.  Reduced turnaround time for 3D BIM model review by local code officials or reduced time that needs to be spent meeting with code commissioners, visiting the site, etc. or fixing code violations during punch list or closeout phase.  Saves time on multiple checking for code compliance and allows for a more efficient design process since mistakes cost time and money.
Resources Required:
Local codes  Model checking software  3D Model manipulation
Team Competencies Required: 
Ability to use BIM authoring tool for design and model checking tool for design review  Ability to use code validation software and previous knowledge and experience with checking codes is needed.
Selected Resources:
Automated Circulation Validation using BIM. GSA. 1-22.  Eastman, C., Liston, K., Sacks, R. and Teicholz, P. BIM Handbook: A Guide to Building Information Modeling for Owners, Managers, Designers, Engineers and Contractors. New York, NY: Wiley, 2008.
Process Model

## CSD
Construction System Design (CSD)
Definition from BIM Execution Guide
Description:
A process in which 3D System Design Software is used to design and analyze the construction of a complex building system (e.g. form work, glazing, tie-backs, etc.) in order to increase planning.
Potential Value:
Increase constructability of a complex building system  Increase construction productivity  Increase safety awareness of a complex building system  Decrease language barriers
Resources Required:
3D System design software
Team Competencies Required: 
Ability to manipulate, navigate, and review 3D model  Ability to make appropriate construction decisions using a 3D System Design Software  Knowledge of typical and appropriate construction practices for each component
Selected Resources:
Leventhal, Lauren.” Delivering Instruction for Inherently-3D Construction Tasks: Lessons and Questions for Universal Accessibility”. Workshop on Universal Accessibility of Ubiquitous Computing: Providing for the elderly.  Khemlano (2007). AECbytes: Building the Future (October 18, 2007).
Process Model

## PHP
Phase Planning (4D Modeling) (PHP)
Definition from BIM Execution Guide
Description:
A process in which a 4D model (3D models with the added dimension of time) is utilized to effectively plan the phased occupancy in a renovation, retrofit, addition, or to show the construction sequence and space requirements on a building site. 4D modeling is a powerful visualization and communication tool that can give a project team the including owner a better understanding of project milestones and construction plans.
Potential Value:
Better understanding of the phasing schedule by the owner and project participants and showing the critical path of the project  Dynamic phasing plans of occupancy offering multiple options and solutions to space conflicts  Integrate planning of human, equipment and material resources with the BIM model to better schedule and cost estimate the project  Space and workspace conflicts identified and resolved ahead of the construction process  Marketing purposes and publicity  Identification of schedule, sequencing or phasing issues  More readily constructible, operable and maintainable project  Monitor procurement status of project materials  Increased productivity and decreased waste on job sites  Conveying the spatial complexities of the project, planning information, and support conducting additional analyses
Resources Required:
3D Model manipulation  Scheduling software
Team Competencies Required: 
Knowledge of construction scheduling and general construction process. A 4D model is connected to a schedule, and is therefore only as good as the schedule to which it is linked.  Ability to manipulate, navigate, and review a 3D model.  Knowledge of 4D software: import geometry, manage links to schedules, produce and control animations, etc.
Selected Resources:
Dawood, N., and Mallasi, Z. (2006). Construction Workplace Planning: Assignment and Analysis Utilizing 4D Visualization Technologies. Computer-aided Civil and Infrastructure Engineering, Pgs. 498-513.  Jongeling, R., Kim, J., Fischer, M., Morgeous, C., and Olofsson, T. (2008). Quantitative analysis of workflow, temporary structure usage, and productivity using 4D models. Automation in Construction, Pgs. 780-791.  Kang, J. H., Anderson, S. D., and Clayton, M. J. (2007). Empirical Study on the Merit of Web-based 4D Visualization in Collaborative Construction Planning and Scheduling. Journal of Construction Engineering and Management, Pgs. 447-461.
Process Model

## DFC
Digital Fabrication (DFC)
Definition from BIM Execution Guide
Description:
A process that utilizes machine technology to prefabricate objects directly from a 3D Model. The 3D Model is spooled into appropriate sections and inputted into fabrication equipment for production of system assemblies
Potential Value:
Automate building component fabrication  Minimize tolerances through machine fabrication  Maximize fabrication productivity
Resources Required:
3D Model manipulation  Fabrication equipment  Fabrication methods
Team Competencies Required: 
Ability to manipulate, navigate, and review a 3D model  Ability to manufacture building components using digital information  Ability to understand typical fabrication methods
Selected Resources:
Rundell, Rick. “BIM and Digital Fabrication (1-2-3 Revit Tutorial).” http://www.cadalyst.com/aec/bim-and-digitalfabrication-1-2-3-revit-tutorial-3707. 8 February 2008.
Process Model

## FMT
Field Material Tracking (FMT)
Definition from BIM Execution Guide
Description:
Using the model to keep track of materials delivered for the project tied to scheduling and sequencing of assembly. Identify materials following procurement to include delivery, laydown area location, etc. For off-site construction, tracking progress toward and delivery.
Potential Value:
Reduced breakage and product loss in the field Shorter facility delivery times Tied to procurement tools
Resources Required:
Tools to tie deliveries to the model
Team Competencies Required: 
Ability to use the tools
Selected Resources:
Process Model

## B2F
BIM 2 Field (B2F)
Definition from BIM Execution Guide
Description:
A process that allows information in a BIM to be transferred to digital layout tools allowing use for very accurate layout in conformance to the model. This information can be used to validate (QA/QC) the physical facility against the model. The level of accuracy of the tools will allow the location and installation of hangers for pipe and ducts work as well as location of structural members. The ability also exists to pass information to earth moving equipment to ensure proper grades and elevations are met.
Potential Value:
Increase accuracy in field layout Faster layout Less re-work
Resources Required:
Tools to tie layout tools to model
Team Competencies Required: 
Ability to use tools, both the model and layout tools.
Selected Resources:
Trimble
Process Model

## QCC
Consistency control (QCC)
Definition from BIM Execution Guide
Description:
Quality assurance (QA) is a way of preventing mistakes or defects in manufactured products and avoiding problems when delivering solutions or services to customers; which ISO 9000 defines as "part of quality management focused on providing confidence that quality requirements will be fulfilled". Quality control (QC) is a process by which entities review the quality of all factors involved in production. ISO 9000 defines quality control as "A part of quality management focused on fulfilling quality requirements".
Potential Value:
A check of the work being accomplished to ensure accuracy.
Resources Required:
Readily available and accurate model
Team Competencies Required: 
Ability to understand a model
Selected Resources:
Process Model

## OWA
Owner Approval (OWA)
Definition from BIM Execution Guide
Description:
A business process which takes advantage of information stored in a BIM to help validate progress as well as ensuring that the owners intent for the facility is being honored both conceptually and contractually.
Potential Value:
More hands-on for the owner Better understanding of progress Earlier identification of any issues needing resolution
Resources Required:
Knowledgable person dedicated to the project who understands the model and work efforts required for design and construction
Team Competencies Required: 
Tools provided to approve items in the model once designed or installed
Selected Resources:
Process Model

## PAY
Pay Applications (PAY)
Definition from BIM Execution Guide
Description:
Using the model to track work in place for the purpose of validating work completed and payments made to the contractors.
Potential Value:
Closer fiduciary control of project Better management of cash flow
Resources Required:
Tools to track work in place
Team Competencies Required: 
Ability to use work in place tools and authorize payments
Selected Resources:
Process Model

## LAS
Laser Scanning (LAS)
Definition from BIM Execution Guide
Description:
A process where the application is the controlled steering of laser beams followed by a distance measurement at every pointing direction. this is used to rapidly capture shapes of objects, buildings and landscapes. The point cloud generated is then interpreted by software to create a BIM of the existing conditions. This can be used to add objects into an existing space or to run automatically run piping ensuring the avoidance of clashes.
Potential Value:
Project accuracy Better understanding of the as constructed product Reduced maintenance and repair costs for the life of the project Ability to maintain and modify systems over time
Resources Required:
Laser scannes and laser scans tied to model
Team Competencies Required: 
Ability to produce laser scans and use them for multiple purposes
Selected Resources:
Process Model

## COM
Commissioning (COM)
Definition from BIM Execution Guide
Description:
The process of verifying, in new construction, all (or some, depending on scope) of the subsystems for mechanical (HVAC), plumbing, electrical, fire/life safety, building envelopes, interior systems (example laboratory units), co-generation, utility plants, sustainable systems, lighting, wastewater, controls, and building security to achieve the owner's project requirements as intended by the building owner and as designed by the building architects and engineers. Recommissioning is the methodical process of testing and adjusting the aforementioned systems in existing buildings.
Potential Value:
Reduced operating costs for the life of the facility Ensuring what is modeled is delivered Ensuring systems function as designed Ensuring performance is as anticipated
Resources Required:
Commissioning tools
Team Competencies Required: 
People trained in facility commissioning Owner staff able to ensure performance is maintained as designed
Selected Resources:
Process Model

## REM
Record Modeling (REM)
Definition from BIM Execution Guide
Description:
A process in which a 3D model contains an accurate depiction of the physical conditions and environment of a facility and its assets. This has potential to contain information relating to the main architectural and MEP elements, but equipment and asset information as well. Furthermore, with the continuous updating and improvement of the record model and the capability to store more information, the model contains a true depiction of space with a link to information such as serial codes, warranties and maintenance history of all the components in the building. The record model also contains information linking pre-build specification to as-built specifications. This allows the owner to monitor the project relative to the specifications provided.
Potential Value:
Aid in future modeling and 3D design coordination for renovation  Provide documentation of environment for future uses, e.g., renovation or historical documentation  Aid in the permitting process (e.g. continuous change vs. specified code.)  Dispute elimination (e.g. link to contract with historical data highlights expectations and comparisons drawn to final product.)  Solid understanding of project sequencing by stakeholders leads to reduced project delivery times, risk, cost, and law suits
Resources Required:
3D Model manipulation
Team Competencies Required: 
Ability to manipulate, navigate, and review 3D model  Ability to use BIM modeling application for facility updates  Ability to thoroughly understand site processes to ensure correct input
Selected Resources:
http://www.bimforum.org/index.php?option=com_content&task=view&id=19#Q6  http://bentleybim.wordpress.com/2007/11/13/bentleys-bim-preferred-58-to-revit-38-executive-briefing/  http://continuingeducation.construction.com/article.php?L=19&C=213&P=1  http://www.aecbytes.com/buildingthefuture/2006/Expotitions_meeting.html
Process Model

## ACM
As Constructed Model (ACM)
Definition from BIM Execution Guide
Description:
A process in which a 3D model contains an accurate depiction of the physical conditions and environment of a facility and its assets. This has potential to contain information regarding not only the main architectural and MEP elements, but equipment and asset information as well. Furthermore, with the continuous improvement of the record model and the capability to store more information, the model contains a true depiction of space with a link to information such as serial codes, warranties and maintenance history of all the components in the building. Moreover, the record model also contains information linking pre-build specification to as-built specifications. This allows the owner to monitor the project relative to the specifications provided. The as-built model differs from the record model as it is not a legal document but a more fluid model identifying changes that have occurred since the model of record was created and locked.
Potential Value:
A certification of the facility validating it was constructed as modeled This is above and beyond the record model Ensures accurate information and higher confidence In the model and the facility being the same.
Resources Required:
Tools to include possibly laser scanning to ensure accuracy of the delivered product and model
Team Competencies Required: 
Ability to use the provided information for facility management over the facility life
Selected Resources:
Process Model

## ASM
Asset Management (ASM)
Definition from BIM Execution Guide
Description:
A process in which an organized management system will efficiently aid in the maintenance and operation of a facility and its assets. These assets, consisting of the physical building, systems, surrounding environment, and equipment, must be maintained, operated, and upgraded at an efficiency which will satisfy both the owner and users at the lowest appropriate cost. It assists in financial decisionmaking, as well as short-term and long-term planning. Asset Management utilizes the data contained in a record model to determine cost implications of changing or upgrading building assets, segregate costs of assets for financial tax purposes, and maintain a current comprehensive database that can produce the value of a company's assets.
Potential Value:
Store operations, maintenance owner user manuals, and equipment specifications.  Perform and analyze facility and equipment condition assessments  Maintain up-to-date facility and equipment data including, but not limited to, maintenance schedules, warranties, cost data, upgrades, replacements, damages/deterioration, maintenance records, manufacturer's data, equipment functionality, and others required by owner.  Provide one comprehensive source for tracking the use, performance, and maintenance of a building's assets for the owner, maintenance team, and financial department  Produce accurate quantity takeoffs of current company assets which aids in financial reporting, bidding, and estimating the future cost implications of upgrades or replacements of a particular asset.  Allow for future updates of record model to show current building asset information after upgrades, replacements, or maintenance by tracking changes  Aid financial department in efficiently analyzing different types of assets through an increased level of visualization  Increase the opportunity for measurement and verification of systems during building occupation
Resources Required:
3D Model manipulation  Asset Management system
Team Competencies Required: 
Ability to manipulate, navigate, and review a 3D Model  Ability to manipulate an asset management system  Knowledge of tax requirements and related financial software  Knowledge of construction and the operation of a building (replacements, upgrades, etc.)  Knowledge of which assets require tracking, whether the building is dynamic vs. static, and the end needs of the building to satisfy the owner Selected
Selected Resources:
GSA Energy Performance and Operations: http://www.gsa.gov/Portal/gsa/ep/contentView.do?programId=12122&channelId=8161&ooid=20917&contentId=21770&pageTypeId=8195&contentType=GSA_BASIC&programPage=%2Fep%2 Fprogram%2FgsaBasic.jsp&P=PMBIM  GSA Commissioning Overview: http://www.gsa.gov/Portal/gsa/ep/channelView.do?pageTypeId=8195&channel Page=%2Fep%2Fchannel%2FgsaOverview.jsp&channelId=-15163  NIST General Buildings Information Handover Guide: Principles, Methodology and Case Studies http://www.fire.nist.gov/bfrlpubs/build07/PDF/b07015.pdf
Process Model

## SMT
Space Management and Tracking (SMT)
Definition from BIM Execution Guide
Description:
A process in which BIM is utilized to effectively allocate, manage, and track assigned workspaces and related resources. A BIM model will allow the facility management team to analyze the existing use of the space and appropriately manage changes in clientele, use of space, and future changes throughout the facility's life. Space management and tracking is an application of the record model.
Potential Value:
Identify and allocate space for appropriate building use  Track current use of space  Insure optimum use of the facility's space resources  Assist in planning future space needs for the facility
Resources Required:
3D Model manipulation  Content management application
Team Competencies Required: 
Ability to manipulate, navigate, and review record model  Ability to assess current space and assets and manage appropriately for future needs
Selected Resources:
Valcik, Nicolas A. and Patricia Huesca-Dorantes. “Building a GIS Database for Space and Facilities Management.” New Directions for Institutional Research, n120 p53-61 2003.
Process Model

## MRI
Maintenance & Repair Information (MRI)
Definition from BIM Execution Guide
Description:
A function to allow the collection and storage of maintenance and repair information about objects brought into a BIM. Given that the information is available electronically at some point in its existence it is key to be able to receive it in a form that will be usable. Product libraries once available may be the easiest approach to collecting this information. The tool will also need to be able to be updated as work orders are developed if specifications about the objects change.
Potential Value:
Accurate information can reduce trips to maintenance site and allow preparation prior to visiting Maintenance costs can be reduced up to one half Better management of spare parts
Resources Required:
Data bases with product M&R information
Team Competencies Required: 
Ability to use tools and discipline to maintain accurate records
Selected Resources:
Process Model

## FMD
FM Documentation (FMD) - Facility Data Exchange with IWMS
Definition from BIM Execution Guide
Description:
A process where a facility data schema is developed to ensure information is supplied to the BIM in electronic form so that it can be easily exchanged between the BIM and the organizations selected IWMS tool. The capability should include textural as well as graphic entities. The breadth of the facility data is dependent the ability of organization to capture and sustain it.
Potential Value:
Accurate FM data available at handover Reduction of cost of acquiring data Information coming from authoritative source
Resources Required:
Tools such as COBie in place and operational
Team Competencies Required: 
Ability to use COBie and IWMS tools
Selected Resources:
Process Model

## BMS
Building (Preventative) Maintenance Scheduling (BMS)
Definition from BIM Execution Guide
Description:
A process in which the functionality of the building structure (walls, floors, roof, etc) and equipment serving the building (mechanical, electrical, plumbing, etc) are maintained over the operational life of a facility. A successful maintenance program will improve building performance, reduce repairs, and reduce overall maintenance costs.
Potential Value:
Plan maintenance activities proactively and appropriately allocate maintenance staff  Track maintenance history  Reduce corrective maintenance and emergency maintenance repairs  Increase productivity of maintenance staff because the physical location of equipment/system is clearly understood  Evaluate different maintenance approaches based on cost  Allow facility managers to justify the need and cost of establishing a reliability centered maintenance program
Resources Required:
Design review software to view Record Model and components  Building Automation System (BAS) linked to Record Model  Computerized Maintenance Management System (CMMS) linked to Record Model  User-Friendly Dashboard Interface linked to Record Model to provide building performance information and/or other information to educate building users
Team Competencies Required: 
Ability to understand and manipulate CMMS and building control systems with Record Model  Ability to understand typical equipment operation and maintenance practices  Ability to manipulate, navigate, and review a 3D Model
Selected Resources:
Campbell, D.A. (2007). BIM – Web Applications for AEC, Web 3D Symposium.  Fallon, K. (2008). “Interoperability: Critical to Achieving BIM Benefits”. AIA Edges Website: Singh, H.; W.H. Dunn (2008). Integrating Facilities Stovepipes for Total Asset Management (TAM). Journal of Building Information Modeling, Spring 2008. http://www.aia.ord/nwsltr_tap.cfm?pagename=tap_a_0704_interop  ASHRAE (2003). HVAC design Manual for Hospitals and Clinics. Atlanta, GA. (2004). Federal energy Management Program. O&M Best Practices: A Guide to Achieving Operational Efficiency, Release 2.0. July 2004. www1.eere.energy.gov/femp/pds.OM_5.pdf  Piotrowski, J. (2001). Pro-Active Maintenance for Pumps. Archives, February 2001, Pump-Zone.com
Process Model

## DRC
Disaster Planning / Emergency Preparedness (DRC)
Definition from BIM Execution Guide
Description:
A process in which emergency responders would have access to critical building information in the form of a model and information system. The BIM would provide critical building information to the responders that would improve the efficiency of the response and minimize the safety risks. The dynamic building information would be provided by a building automation system (BAS), while the static building information, such as floor plans and equipment schematics, would reside in a BIM model. These two systems would be integrated via a wireless connection and emergency responders would be linked to an overall system. The BIM coupled with the BAS would be able to clearly display where the emergency was located within the building, possible routes to the area, and any other harmful locations within the building.
Potential Value:
Provide police, fire, public safety officials, and first responders access to critical building information in real-time  Improve the effectiveness of emergency response  Minimize risks to responders
Resources Required:
3D Model manipulation  Building Automation System (BAS) knowledge  Emergency response knowledge
Team Competencies Required: 
Ability to manipulate, navigate, and review BIM model for facility updates  Ability to understand dynamic building information through BAS  Ability to make appropriate decisions during an emergency
Selected Resources:
Building Information for Emergency Responders. Systemics, Cybernetics and Informatics, 11th World MultiConference (WMSCI 2007). Proceedings. Volume 3. Jointly with the Information Systems Analysis and Synthesis: ISAS 2007, 13th International Conference. July 8-11, 2007, Orlando, FL, Callaos, N.; Lesso, W.; Zinn, C. D.; Yang, H., Editor(s) (s), 1-6 pp, 2007. Treado, S. J.; Vinh, A.; Holmberg, D. G.; Galler, M.
Process Model

## SKM
Security & Key Management (SKM)
Definition from BIM Execution Guide
Description:
A process to identify and evaluate the security zones in the facility using BIM. The evaluation ensures that there are no "leaks" in the security strategy. Further the process includes identifying the door keys required for openings through the security perimeters established to ensure that the level of security defined is maintained.
Potential Value:
Support of physical security to ensure protection of key assets Minimize cost of physical security Ability to be more responsive to security threats
Resources Required:
Tools to mange keys and locks Ability to tie video surveillance to who has access rights
Team Competencies Required: 
Cross link between physical plant and security personnel
Selected Resources:
Process Model

## CMA
Communication move/add/change management (CMA)
Definition from BIM Execution Guide
Description:
A process tied to personnel management to help ensure that telephones and other communication devices are in place and the minimum number of lines are being paid for. This item also ensures that hard wired computers are operational when a person is located in a space.
Potential Value:
Reducing costs by taking advantage of space and connectivity information in the model Eliminates need to keeping duplicate records Ties people to spaces for maintenance issues also
Resources Required:
An accurate model which is maintained Tools to link communication and computer systems to model
Team Competencies Required: 
Ability to use tools available for managing personnel, communications and commuters.
Selected Resources:
Process Model

## WAF
Way finding (WAF)
Definition from BIM Execution Guide
Description:
A process of documenting and providing assistance to facility or site occupants. Wayfinding encompasses all of the ways in which people (and animals) orient themselves in physical space and navigate from place to place.
Potential Value:
Improves client satisfaction Improved circulation Reduces time spent by occupants and visitors to the site Improves security by minimizing wandering
Resources Required:
Tools tied to model to help people - systems may include changeable signs identifying events occurring in spaces that may change.
Team Competencies Required: 
Ability to use wayfinding tools
Selected Resources:
Process Model